## Slide 1: Solid-liquid and flow cells
Tom Arnold
FREIA Instrument Scientist
www.europeanspallationsource.se
27 November, 2018

## Slide 2: SANS

## Slide 3: Liquid handling for SANS
Off the shelf items
  Stop-flow / flow-through cells
  Microfluidics
  HPLC & syringe pump
Integration with a sample changer?
Anything else needed?

## Slide 4: Reflectometry

## Slide 5: Sample Changers
Simple translation stage
Current Solid-Liquid Sample changing on INTER

## Slide 6: Standard Solid – Liquid cells
The standard solid-liquid cell looks quite simple
  Substrate clamped onto a Teflon trough

## Slide 7: Variations
Some sophisticated designs exist
  Modular
  Kinematic mounting
  Different orientations and materials
  Flow & mixing appropriate to application and orientation

## Slide 8: Variations
Adaptations to allow parallel techniques
  Different constraints on substrate & trough materials, windows etc

## Slide 9: Microfluidics? Small volumes
New opportunities for measurements on small samples
Increases capacity for a sample changer

## Slide 10: X-ray compatibility? Collaboration with Max IV?
Lipids at Silicon-water interface
  with a small volume flow cell (1-2cc max)
1:1 DPPC/DOPC bilayer at Silicon-Water
(with and without NaCl)

## Slide 11: Sample Changer Considerations
Orientation & mounting?
  Number of cells required
Space constraints
HPLC / syringe pumps / switches
Supply / Drains / Hazardous waste
  Volume
  Chemical resistance / fumes / activation
Auto-alignment & scripting to avoid human error
Adaptations for complementary techniques
  Interface with other kit?

## Slide 12: Solid-Liquid Cell Considerations
What should ESS provide & what should users provide?
Orientation & mounting?
Footprint / Volume?
Fluid flow & exchange?
Shielding & Activation?
Materials? Substrates?
Adaptations for complementary techniques
  Stirring / mixing
  Electrical contacts
  UV/visible/IR
  High liquid pressure?
  In-line analysis (QCM etc)
  X-ray reflectometry?