## Slide 1
Sample Environment for Large Scale Structures instruments at ESS

## Slide 2
Sample environments
ESS Air-Liquid and Liquid-Liquid cells
28th November 2018
4) To determine if the current plans of SAD align with the instrument
requirements and timelines
The goal of our session is:
1) To determine the required pieces of equipment
2) To develop some top level requirements for each piece of equipment
or identify where development work is needed
3) To identify who is responsible for delivering the equipment
or doing the development work

## Slide 3
Sample environments
ESS Air-Liquid and Liquid-Liquid cells
28th November 2018
1) To determine the required pieces of equipment
A. Standard troughs design and commissiong
Temperature control below and above RT
Vapour control
Multi troughs > 80 automatic syringes and washing

## Slide 4
Sample environments
ESS Air-Liquid and Liquid-Liquid cells
28th November 2018
Smart multi Langmuir troughs
Vapour controlled environments
Above and below room temperature
Vapour control
Automatic syringe injection

## Slide 5
Air-Liquid and Liquid-Liquid cells
Of interest to physicists, chemists, biologists...
Phase-transfer catalysis, separation science etc.
Surfactants and polymers at oil-water interfaces
membranes and membrane transport
Capillary waves, bending rigidity
Electrochemistry: transport phenomena
Stabilisation of emulsions
Drug delivery
Proteins at oil-water interfaces
ESS Reflectometry project

## Slide 6
Sample environments
ESS Air-Liquid and Liquid-Liquid cells
28th November 2018
Temperature controlled Air-Liquid multi troughs

## Slide 7
Automatic washer
8 troughs
Automatic syringe filling
Neutron
(entry) window
Notes: For me

## Slide 8
Sample environments
ESS Air-Liquid and Liquid-Liquid cells
28th November 2018

## Slide 9
Quartz windows
Pressure balance
Neutron reflectivity from bulk oil- water interface
Reduced sample size and increased sensitivity; liquid/liquid interfaces:
Protonated Biological system – Using a high Nb substrate
Sample environments
ESS Air-Liquid and Liquid-Liquid cells
28th November 2018