## Slide 1
Mounting & Movement Stages, Motion Stacks & ESS Requirements

## Slide 2
Translations in the sample area:
Z-translation stage (up/down)
X-translation stage (in the direction of the neutron beam)
Y-translation (perpendicular to the neutron beam) – incorporated into the SEE
Other may also need:
Pitch?
Roll?
Yaw?
i.e. rotations around each of the axis
Need to consider:
 Weight capacities, sizes
 Hexapods vs. stacks
 Additional space requirements, e.g. for plumbing
Mounting and Movement
Motion Stacks

## Slide 3
Mounting levels provided by Malcolm Guthrie
Level 1
Level 2
Level 3
Level 0
200 mm
350 mm
500 mm
1300 mm
200 mm
1500 mm
Mounting and Movement
Stages and Mounting Levels
Kinematic mounts for easy installation of SEE between different instruments - no need for bolting/unbolting each time

## Slide 4
Mounting levels provided by Malcolm Guthrie
Level 1
Level 2
Level 3
Level 0
200 mm
350 mm
500 mm
1300 mm
200 mm
1500 mm
Mounting and Movement
Stages and Mounting Levels
Kinematic mounts for easy installation of SEE between different instruments - no need for bolting/unbolting each time

## Slide 5
Motion Stacks
Current Design for LoKI
1300 mm
790 mm
level “0” - platform
Z- & X-translation table
(under the platform?)
2000 mm
L2
L3
The top of these stages (with Harald’s kinematic mount design?) will be lowered flush to the platform, i.e. “level 0”. Ideally allowing simple “tables” mounted with cumbersome SEE to be wheeled in and installed without each needing their own z- and x-translation tables

## Slide 6
Mounting and Movement
Stages, Motion Stacks and ESS Requirements
Things to consider:
The height (z-translation) of the standard SANS (and NR?) sample holders
Evaluation of the SAD mounting stack prototype (probably haven’t had a chance to test yet though)
Plan for building a prototype “level 0” kinematic mounting system:
  Build and see how it works at ISIS?
  Can it fit feasibility within the available turning areas?