## Slide 1: The Bifrost spectrometer
Progress STAP 2018 / 2
Rasmus Toft-Petersen
Technical University of Denmark

## Slide 2: Validating the McStas file with CAD (Martin Olsen)

## Slide 3: Backend from detector group! (Milan Klausz)

## Slide 4: Analyzers Final arrangement

## Slide 5: Cross talk shielding

## Slide 6: Point-to-point make it simple

## Slide 7: Validation of detailed geometry

## Slide 8: Validation of detailed geometry

## Slide 9: Performance is slightly staggered

## Slide 10: Cave and tank
150mm Borated PE
Detectors
Rotational System
Gamma Shielding (Cu)
Beryllium Collimator
Cd Lined Vac Tank
Analysers
Cross Talk Shielding

## Slide 11: Tank bottom

## Slide 12: Analyzer access

## Slide 13: Shielding
Polyethylene weight drives motion system design

## Slide 14: Cave (II)

## Slide 15: Cave (III)
Double layered, LEGO block construction
Working with Swedish company – C3C
Latest quote – 165k€ for design, manufacture and installation of cave walls (not including roof and penetrations)
Now working on the roof layout

## Slide 16: The Bifrost spectrometer
Technical hot commissioning - Procedures and schedule
Rasmus Toft-Petersen
Technical University of Denmark

## Slide 17: Outline
Pre-hot commissioning
Chopper calibration
Monitor/flux validation
Normalization
Energy resolution
Q-resolution
Test-experiment (non-science)

## Slide 18: Outline

## Slide 19: Pre-hot commissioning
Hot source detector/electronics commissioning Check the relationship between gamma and neutron response, estimate thresholds for discrimination, check positioning resolution and triplet performance
Check software Make sure detector geometry in Mantid is correct, make a simulated data set, reproduce simulated dispersion in Mantid. Check sample environment software, monitoring software etc.
Make sure the magnet can go on Bifrost, and is controllable
A couple of months work to be done in parallel

## Slide 20: Chopper calibration
Opening profile and chopper timing
Monitor
Fluence > 1012 n/s

## Slide 21: Chopper calibration
Flux and overlap measurement

## Slide 22: Chopper calibration
Opening time, timing, transport measurement

## Slide 23: Chopper calibration
Overlap measurement, transport measurement, rise/fall times

## Slide 24: Monitors
N2 MWPC? Scintillators?
Fission?
MWPC? GEM?
We use 4 monitors along the beamline, for guide diagnostics, chopper diagnostics and normalization

## Slide 25: Monitor suggestions
Near monolith: Fission chamber with low efficiency – 10^-8. Fast neutron flux from fission will be insignificant at 160 m. Should be able to measure fluence of 10^12.
Post-Bunker and post BW: Ordela monitors with nitrogen gas, efficiency of 10^-6 and max count rate of 10^6. Gamma sensitivity comparable to neutron. May smere signal
At sample : Either low efficiency for Day 1, or GEM type detectors if the count rate can come down low enough. We might have a massive stability problem, which the ESS is looking into – larger than we presumed

## Slide 26: Chopper calibration
Overlap measurement, transport measurement, rise/fall times
Estimated time for chopper calibration: 5 weeks (in total)

## Slide 27: Monitor and flux calibration
Gold foil for absolute flux.
Identify aluminum bragg peaks in monitor, maybe YIG sample before monitor
Use CF levels on known crystal to verify intensity across the frame.

## Slide 28: Monitor and flux calibration
Gold foil for absolute flux.
Identify aluminum bragg peaks in monitor, maybe YIG sample before monitor
Use CF levels on known crystal to verify intensity across the frame.
Estimated time for monitor calibration: 2 weeks

## Slide 29: Normalization: Vanadium and CF levels
Normalize for: Analyser reflectivity, spatial angle and incoming flux
Scale resolution volume and try to compare CF levels for different analyzers Compare CF level intensities normalized by monitor and acc current, respectively

## Slide 30: Normalization: Vanadium and CF levels
Normalize for: Analyser reflectivity, spatial angle and incoming flux
Scale resolution volume and try to compare CF levels for different analyzers Compare CF level intensities normalized by monitor and acc current, respectively
Estimated time for monitor Normalization: 2 week

## Slide 31: Energy resolution: Vanadium and CF levels
Prototype measurements on MARS @ PSI
Use vanadium to quantify the size and variance of elastic line widths
Use e.g. LiHoF4 to do the same in inelastic mode Use cold chopper results to verify

## Slide 32: Energy resolution: Vanadium and CF levels
Prototype measurements on MARS @ PSI
Use vanadium to quantify the size and variance of elastic line widths
Use e.g. LiHoF4 to do the same in inelastic mode Use cold chopper results to verify
Estimated time for monitor Energy resolution: 1.5 weeks

## Slide 33: Q-resolution: Vanadium and CF levels
Use Bragg peaks to determine center width and to verify divergence jaws Use steep magnon to verify overall
Q-resolution

## Slide 34: Q-resolution: Vanadium and CF levels
Use Bragg peaks to determine center width and to verify divergence jaws Use steep magnon to verify overall
Q-resolution
Estimated time for monitor Q-resolution: 1.5 weeks

## Slide 35: Test eksperiment: Known dispersion – MnF2?

## Slide 36: Test eksperiment: Known dispersion – MnF2?
Two samples, Two settings, Low flux 4 weeks

## Slide 37: Total beam time requirements
Chopper cascade: 5 weeks
Monitor/normalization: 3 weeks
Energy resolution 1.5 weeks
Q-resolution 1.5 weeks
Test-experiments 4 weeks Background 3 weeks
___________________________________
Perfect world total: 18 weeks Accelerator fudge (x1.2)
Scientist fudge (x1.2) DMSC fudge (x1.1) Grand total : 28 weeks of beam time 7-8 months

## Slide 38: The Bifrost spectrometer
Early science and ressources
Rasmus Toft-Petersen
Technical University of Denmark

## Slide 39: Outline
Schedule
Day 1 capabilities
Early science: 4-spin plaquettes
Early science: Electrical fiels
Minimum day 1 requirements from SAD
Minimum day 1 requirements DMSC

## Slide 40: Rough access times
E01: Oct - 19
E02/1: Oct - 19
E02/2: May - 21
Bunker: August 21
D03 : Feb - 21

## Slide 41: Critical dates
Cave installation and fitout: Oct-19 – Jan-21
Guide/beamline shielding installation: Jan-21-July 21 (ESS)
Inbunker: Aug-21 – Oct-21 Cold commisioning: 6 months (ongoing throughout installation)
BoT: July 22
Ready for science in early 23

## Slide 42: Day 1 capabilities

## Slide 43: Day 1 capabilities
500 kW flux is 1.6 * 109 n/s/cm2 -> factor of 5 on Thales
Assume adding multiple Ef-maps together not straightforward. Single Ef gain on Thales: x 5
So if one really needs the mapping capability, we have a factor of 25 on Thales at 500 kW.
We have much better resolution at similar flux. We can still do impressive stuff, if we stay delocalized. Motivation:
Prove that Bifrost works, and produces mapping data sets that can be easily analyzed.
Entice the community to do ambitious sample environment experiments.
Stay away from the high risk stuff

## Slide 44: Early science: 4-spin plaquettes
New quantum states in exoctic matter: a 4 spin plaquette
M. E. Zayed, Nature Physics volume 13, pages 962–966 (2017)

## Slide 45: Two plaquette types

## Slide 46: Two plaquette types
Mapping studies on very small samples in pressure? Only on Bifrost. Would take a while at 500 kW but would be feasible (not at 100 kW)

## Slide 47: Electrical field mapping - only on Bifrost?
E. Latagne Hutubise, et al, PRB (2017) – theory paper
M. Bartkowiak, Rev Sci Instr (2014)

## Slide 48: Minimum requirements
Current ESS
Future ESS
The cost book value of the instrument is unchanged Money is tight and we are defining the mininum requirements, stripping away nice-to-haves

## Slide 49
SAD requirements
We need the 15 T magnet and orange 6 months before ready-for-beam-on-sample. We need to test magnetic environment, sample handling procedure, etc, before neutrons
For early science, we need a 20 kBar pressure cell, with a large sample space to demonstrate small sample performance. A dilution fridge maintained by SAD would be good for wow-factor and proof of operation. (Q4 22)
Pressure cell should be timed with 500 kW operation, dilution may be useful before.

## Slide 50
SAD summary
1) 15 T magnet and orange: Q4/21
2) Pressure cell: Q4/22
3) Access to dilution stick: Q4/22
4) Electrical fields: Q1/23
Pressure cells and electrical fields might be in external collaborations. Only 1) is essential for workhorse science
We need to test the mounting and operation of sample environment that should be done in cold commissioning, if possible, and otherwise during shutdowns

## Slide 51
DMSC requirements
If we focus on need-to-have, the high level DMSC requirements is a step-function, we need:
Controls, and parameter visibility in the exp hut.
Easy access to raw data (I vs ToF on detectors and triplets – monitor data), and quick reduction options.
Data normalization
Data reduction -> S(q, w)
Binning and slicing, or possilibity to export map to existing slicing software
Rough binning for fast analysis on the fly
We don’t need advanced analysis tools on day 1 (SpinW, automatic fitting, etc). We’ll do hot commissioning and we cater to superusers.

## Slide 52
DMSC collaboration
Stuff we can do, coordinating with the DMSC:
We have a PhD student working on the similar PSI CAMEA project, Jakob Lass. He will try to work in the direction of Bifrost data reduction. DSMC responsibility is paramount, though.
We can simulate a realistic data set in McStas, using a simple dispersion relation. We can use this as a starting point to generate a good user interface.
The LLB will make a triplet prototype, that we will use to test the setup. If useful to the DMSC we can use real data for testing.

## Slide 53
Ressources for HC and early science
2 beamline scientists
In perfect world: 1 post doc
0.5 data scientist
1-2 good students if possible – employed close by in the user community (Lund + DK?)
Superusers are a really important ressource
Software is a single point of failure, advanced sample environment is important but less critical.

## Slide 54: Thank you for your attention