## Slide 1: CDR 2019 nBLM end to end connection Saclay CEA
Edvard Bergman
BD Laboratory manager
Cables/EMC/EMI
ESS ERIC
www.europeanspallationsource.se
7 February, 2019

## Slide 2: Example from telecom industry EMI magnitude. “Worst case” low level CW impact as EMI.
“Stray capacitance”

## Slide 3: Signal from nBLM.
The signal output from the nBLM goes through an amplifier. This make its not “critical” as icBLM in terms of capacitance and it is regarded as single mode termination rather than differential mode. A coaxial (“triaxle”) cable through conduit has been chosen.

## Slide 4: nBLM signal end to end connection

## Slide 5: icBLM measurement at Uppsala test facility. COAXIAL RG58 (CERN). 10m with and without CONDUIT

## Slide 6: nBLM Low voltage end to end connection.

## Slide 7: nBLM High voltage end to end

## Slide 8
Thank you!