## Slide 2: An overview of CERN HSE in-house developed software tools for Safety
Gustavo Segura
on behalf of the HSE-CEN-CO team

## Slide 3: An overview of CERN HSE in-house developed software tools for Safety
HSE-CEN-CO Team
Databases and Web applications for HSE
  SAILOR – Safety Inspections tool(s)
  TSA - Tendering Support
  RAISIN – Radiation Risk Areas Inventory
  CERES – Chemical safety register
  Personal Dosimetry
Supervision, Control and Data Acquisition systems
  REMUS – Radiation an Environment Monitoring Unified Supervision
Future developments

## Slide 4: HSE-CEN-CO Team
HSE-CEN-CO, HSE Computing Support
We are responsible for the development and support of a wide set of software tools for safety management at CERN
Two domains of expertise:
  Databases and Web-applications supporting the HSE Unit activities
  SCADA - Supervision, Control and Data Acquisition systems for Radiation Protection and Environment Protection
The 1st question: Commercial software or in-house development ?

## Slide 5: SAILOR – Safety Inspections

## Slide 6: SAILOR – Safety Inspections
SAILOR is a Safety Inspections Management System, i.e. a software where
  Safety Inspectors register safety and environment issues - (what, where, urgency, responsibility, etc.)
  Designated resolvers are requested to take Action in order to control /reduce/ suppress the risks record their progress.
  Safety Managers (i.e.: HSE, Safety Officers, Department Leaders, Group Leaders, etc.) can follow-up the resolution of the issues.
General inspections – (2582 “buildings”) | Sep - 2014
Lifting equipment - (4947 pieces of equip) | Oct - 2018
Electrical installations | future project
Pressure equipment | …
Machine tools | …
Plan
Inspect
Write report and Notify
Resolution
Reporting & Analysis
General Inspections – until May 2019 | 
Inspections | 2.840
Actions | 19.650
Lifting Inspections – until May 2019 | 
Inspections | 1841
Actions | 358

## Slide 7: SAILOR – GENERAL Safety Inspections – Writing and Notif. phase
Plan
Inspect
Write report and Notify
Resolution
Reporting & Analysis
GENERAL
Inspections

## Slide 8: SAILOR – GENERAL Safety Inspections – Writing and Notif. phase
Plan
Inspect
Write report and Notify
Resolution
Reporting & Analysis
GENERAL
Inspections

## Slide 9: SAILOR – GENERAL Safety Inspections – Writing and Notif. phase
Plan
Inspect
Write report and Notify
Resolution
Reporting & Analysis
GENERAL
Inspections
https://sailor...

## Slide 10: SAILOR – GENERAL Safety Inspections – Writing and Notif. phase
Plan
Inspect
Write report and Notify
Resolution
Reporting & Analysis
GENERAL
Inspections
…
https://sailor...

## Slide 11: SAILOR – TECHNICAL Safety Inspections – Lifting equipment
Plan
Inspect
Write report and Notify
Resolution / EAM WorkOrders
Reporting & Analysis
CERN validation
By CERN
contractor
Plan
Inspect
Write report and Notify
Resolution / EAM WorkOrders
Reporting & Analysis
By CERN
Inspector
SAILOR creates corrective maintenance work-orders in InforEAM

## Slide 12: TSA – Tendering Support

## Slide 13: TSA – Tendering Support
HSE Objective: “Verify the compliance of the Tendering documents with the CERN Safety regulatory framework.”
New request for review
Assignment of roles
Consultation
Feedback to Writer
Request closed
Reporting
TSA Software System
Implements the tendering support procedure
For each review – i.e. call for tender, contract
  Registers tender documents to review
  Assigns roles (coordinator, expert, etc.)
  Stores inputs from HSE (mandatory changes, suggestions, etc.)
  Generates final reports for the requestor
6044
1283
2084
2675
6736
Since 2014
910 Requests
9411 Comments

## Slide 14: TSA – Tendering Support

## Slide 15: RAISIN – Radiation Risk Areas Inventory

## Slide 16: RAISIN – Radiation Risk Areas Inventory
RP CLASSIFICATION LEVELS
Non-designated
Supervised
Controlled – Simple
Controlled – Limited Stay
Controlled – High Radiation
Prohibited
RAISIN
Install signs, check relevant parameters
Update classification database
Inform concerned people / systems
Determine classification
RP Classification process
RAISIN
AIS
LOCATIONS
EDH
Transport
AOC
IMPACT
GIS
PORTAL
SAFETY
MANGERS
AIS
ROLES
With the RAISIN System, RP Group :
  Manages the inventory of CERNs radiation areas.
  Identifies and documents the radiological risks classification.
  Shares the classification with other systems (used for planning in a CERN-wide scope).
 | Total | Classified
Number of constructions (“ouvrages”) | 2.582 | XXX
Number of locals (building/level/locals*) | 29.091 | XXXX

## Slide 17: RAISIN – Radiation Risk Areas Inventory
https://raisin...

## Slide 18: CERES – Chemical Risk inventory

## Slide 19: CERES – Chemical safety register
Please have a look to the presentation of CERES project this morning ….

## Slide 20: Personal Dosimetry

## Slide 21: Personal Dosimetry Systems
The Dosimetry System is the software system that we provide to RP Group allowing them to manage the legally required personal dosimetry monitoring of individuals occupationally exposed to ionising radiation at CERN.
Capabilities:
Distribution of dosimeters to requestors who fit the criteria: medical, contract, safety training
Recording personal doses in central database
Reports of personal doses
Send notifications: recall for reading dosimeters, renew contract, renew medical certificates, exchange dosimeters
Dosimetry
Medical Service
Access control
IMPACT
AIS
Contract
Safety Training
15-May-2019 cumulated | 
Dose records | 2.126.985
Users | 50.456
System breakdown  Forbidden access to accelerator and experimental facilities

## Slide 22: REMUS – Radiation and Environment Monitoring Unified Supervision

## Slide 23: REMUS – Radiation and Environment real-time monitoring

## Slide 24: REMUS – Radiation and Environment real-time monitoring
Control
Data Acquisition
Supervision
3 200
Channels
500
Stations
1 000
Meas./sec
600K
Data Points
27
Station Types
Data Archiving
38Bn Meas./year 2Bn after reduction
Data Visualization
GUI Editor
Application Editor
Online
Control/Command
46k parameters
Client
Supervision
Client
626 Synoptic
Alarm Screen
Client
82K Alarms defined
8Bn Meas.
Data Exchange
LASER DIP Meas. DB
18 Applications
REMUS Functional Diagram

## Slide 25: Future projects
  Renewal of the Dosimetry System
  CERES project to be completed in 2019 (on-going)
  REMUS read-only mobile application (REMADS Project on-going)
  REMUS data analytics (REMADS Project on-going)
  SAILOR mobile application for Safety Inspectors
  SAILOR technical inspections
  … and may be … sharing and collaborating with you ?

## Slide 26
Thank you for your attention

## Slide 27: List of instrumentation supported by REMUS (1-14/27)
GROAC (CERN) General Purpose (counting cards)
MSDA (CERN+) Radioactivity
MMS (CERN+) Meteorological Station
VMS (CERN+) Ventilation Station
RWM (Bertin) Radioactive Water Monitor
HFM (Britec) Hand Foot Contamination Monitor
SGM (Bertin) Site Gate Monitors for Radioactivity
PCM (Bertin) Contamination
WMS (CERN+) Water Monitoring Station
AC32 (Environnement S.A.) NO, NOx,NO2 Monitoring
O342 (Environnement S.A.) O3 Monitoring
LB112 (Berthold) Gamma rays Monitoring
FHT1100 (Thermo) Contamination (mobile)
AD6 (Automess) Radioactivity (mobile)
COTS (Commercial Off-The-Shelf) instrumentation CERN developed instrumentation “CERN+”: CERN & COTS instrumentation

## Slide 28: List of instrumentation supported by REMUS (15-27/27)
COTS (Commercial Off-The-Shelf) instrumentation CERN developed instrumentation “CERN+”: CERN & COTS instrumentation
ICAM (Canberra) Air Alpha/Beta Monitor
SMART (CERN) General Purpose (PLC)
LB147 (Berthold) Hand Foot Contamination Monitor
iWMS (CERN+) Water Monitoring Station
RADHOME (Algade) Radon Monitoring
ABPM (Mirion) Alpha/Beta Particulate Monitor (mobile)
DTionix (Premium Analyze) Tritium Monitoring
MinAlarm (Thermo) Radioactivity
UNIDOS (PTW) Dosemeter
iAS (CERN+) Aerosol Sampler
Alarm Repeater (CERN) Alarm Signals
FHT1388 (Thermo) Truck Gate Monitor for Radioactivity
CROME (CERN) Radioactivity

## Slide 29: REMUS Architecture