## Slide 1: Evacuation Plan
Fredrik Jörud
Fire Protection Engineer
European Spallation Source ERIC
190510

## Slide 2: Why?
the licencee shall in conjunction with an evacuation, as far as reasonably possible, verify that relevant areas and spaces have been evacuated

## Slide 3: Office area assembly points
SEC Reception
ESS Reception
Thursday
Your position

## Slide 4: Temporary assembly points
Your position

## Slide 5
D02
MCR
D01
D07
D06
D08
1
2
3
4
5
H10
H01
H06
H09
H05

## Slide 6: Atmospheric release
D02
MCR
D01
D07
D06
D08
H10
H01
H06
H09
H05
D02
MCR
D01
D07
D06
D08
1
2
3
4
5

## Slide 7: ESS-0082385 ”ESS Site Evacuation Plan” - Three pillars!
Training
Card reader system
Organisation
“Every person entering this area swipes their card”
- “In case of an evacuation alarm, I will evacuate immediately"
Evacuation leader - Area 1, Building A
Assembly point coordinator
Swipe
Swipe
Evacuation alarm types
Assembly points
Access card
ENTRANCE
Main control room shift leader
receives the balance
radio
automatic
Access card
Evacuation leader - Area 2, Building A
Building “A” is evacuated

## Slide 8: Assembly point coordinator (APC) operations
1

## Slide 9: On my way to AP#
1
2
APC
SL
*Use “Gate Guard” until SL is operational in the emergency preparedness organisation

## Slide 10: Assemble evacuation notes
Collect the evacuation notes!
EL
APC
EL
EL
3

## Slide 11: Keep evacuees informed
APC
EL
4
Evac alarm in offices
– Root cause is not yet known
– Swipe access cards
- evacuees coming from Building# assemble behind me!

## Slide 12: STATUS to Shift Leader (SL)
APC
SL
5
Radio from APC.
“SL, SL
– Everybody is evacuated from Building#
– Evacuation is not confirmed from Building#
*Use “Gate Guard” until SL is operational in the emergency preparedness organisation

## Slide 13: Bad weather
APC
EL
Because of bad weather - we will go indoors – Follow me!
Check if you can access building xx – use megaphone - call for people to follow you indoors!

## Slide 20: The End

## Slide 22
*Use “Gate Guard” until SL is operational in the emergency preparedness organisation
The Objective

## Slide 23: Evacuation notes - Examples
On site
G02
100
Test stand
In conference room
At ODH area
1
2
Brightness
G02
100
Cold Box