## Slide 1
TG3 (Detailed engineering)
ES&H related content
Gábor László
03.04.2019

## Slide 2: Deliverables and content related to ES&H
1. | Radiation Safety Analysis | Content | Reference
 | Radiation Hazard analysis | Analysis for the sub-system in scope for the sub-TG3, and complete analysis for TG3. Personal safety hazards highlighted. Only for operation and maintenance. | ESS-0440582, ESS-0100583
 | References to hazard analyses from technology groups | SAD document (ESS-0040840), Experiment safety (ESS-0024107) Chopper analysis (ESS-0331602) | 
 | Shielding verification for (H1-H2) | Analysis for the sub-system in scope | ESS-0052625 (NOSG Phase 2 Guidelines) ESS-0039408 (Neutron Optics and Shielding Handbook)
 | Activation Analysis | Activation inventory inside the bunker Declaration of conformity with allowed materials list Activation map: Heavy shutters Choppers & first meter of optics either side of chopper Sample environment and nearest meter of optics, and unshielded support structures Optical elements and immediate surroundings of near focusing noses / kinks / deflectors First two meters of optical elements exiting the bunker wall | 

## Slide 3: Deliverables and content related to ES&H
3. | Sub-System Design Description | Released version (finalized for the TG3 scope) | ESS-0004797 ESS-0099059
 | CE/Mechanical Quality classification of components | ESS-0127031, ESS-0145018 - Checklist for formal assessment of the EU conformity procedure.pdf | 
4. | Checklist(s) for formal assessment of the EU conformity procedure |  | ESS-0145018
2. | Instrument Hazard Analysis (.xls) | Content | Reference
 | Conventional Hazard analysis | Analysis for the sub-system in scope for the sub-TG3, and complete analysis for TG3. Personal safety hazards highlighted. Only for operation and maintenance. | ESS-0100583 (Hazards Analysis Template) ESS-0379511, ESS-0047810 (Guideline for Instrument Hazard Analysis)
 | References to hazard analyses from technology groups | SAD document (ESS-0040840), Experiment safety (ESS-0024107) Chopper analysis (ESS-0331602) |