## Slide 1
Timing Distribution - NCL
Jerzy Jamroz
Embedded Systems Engineer
Integrated Control System Division
2020-01-30
1

## Slide 2
Outline
Installation
Deployment
Validation
Supercycle
Workflow
Conclusions
2

## Slide 3
Installation
3

## Slide 4
Installation
Timing Distribution (TD) Eplan Drawings
  NCL: mid 202002
FBS
  Status: released
ESS/Epics names
  Status: released
TD-M (Master)
  EAM asset codes
    Status: subscribed for each card.
  Installation
    Status: mid 202002 in MBL-070ROW:CNPW-U-017
  RF Front End Integration Tests: SAT and SIT
TD-D2X where X belongs to NCL: ESS-1404467
  March, April, May 2020
4

## Slide 5
Installation – FBS (Chess)
5

## Slide 6
Installation – Epics Names
6

## Slide 7
Installation – EAM
7

## Slide 8
Deployment
8

## Slide 9
Deployment - IOC
9
# Maintenance
epicsEnvSet("LOCATION","MBL-070ROW:CNPW-U-017") # Location
epicsEnvSet("FBS","=ESS.INFR.K01.K01") # The parent node of AS
# Naming: AS:DS-ID
epicsEnvSet("AS", "TD-M") # Area Structure
# SCE IOC
epicsEnvSet("DSSCE", "TS-SCE") # Device Structure SCE
epicsEnvSet("PSCE01", "$(AS):$(DSSCE)-01:") # Prefix of the SCE 01
# EVG IOC
epicsEnvSet("DSEVG", "TS-EVG") # Device Structure EVG
epicsEnvSet("PEVG01", "$(AS):$(DSEVG)-01:") # Prefix of the EVG 01
Under revision
NFS Mount
TD-M

## Slide 10
Deployment - Hardware
10
Ready
TD-M

## Slide 11
Validation
11

## Slide 12
Validation - TD
“timnet” App (Alpha Release)
  To expose the timing network topology, parameters and states
  Background for an eventual timing network GUI development
  Maintenance checks after changes or shutdowns
  SAT and SIT purposes
  Timing network monitoring
12

## Slide 13
Validation - Electronics
“timtest” App (Not Finished)
  Stress tests – One week.
  Firmware
  Image
  Status: backlog
State definition for the global ESS state grid
  Status: backlog
Plenty of manual tests were done up to now
13
Under development

## Slide 14
Supecycle
14

## Slide 15
Supercycle
15
The supercycle performs:
  Master Event Sequence Distribution
        ION_ST, ION_END, BPULSE_ST, BPULSE_END, 14HZ(always), BPULSE_CM
  Data Buffer Distribution
        IdCycle, PBCfg, PBDest, PBMod, PBLen, PBEn, PBCurr, TgRast, TgSeg
Specification
  Operating frequency: one linac cycle (14 Hz)
  Sequential execution
EVG
FW
SCE
Logic
User
Interface
Config
Config
Outlook

## Slide 16
Supercycle Engine (TD-M)
16

## Slide 17
Supercycle Front End - Outlook
17

## Slide 18
Init (Global)
18

## Slide 19
SCTable Example
19

## Slide 20
Workflow
20

## Slide 21
Jira – Mainly ICSHWI-1686
21

## Slide 22
Conclusions
22

## Slide 23
Conclusions
The installation is the main concern at the moment.
NCL part will validate the workflow and tools.
The supercycle engine will accept any input data (expert access) to the timing system – operators will have the full freedom.
The commisioning experience will be a base for the supercycle front end development (logic and GUI).
„reftabs” repository will serve the settings for other subsystems as well.
23