## Slide 1: Data Management
Test and Commissioning Workshop
Natalia Milas and Clement Derrez

## Slide 2: Summary
Types of data:
    Calibration, Verification and Commissioning/Conditioning data
    Data storage and retrieval
Main Issues
Requirements for the data outside the archiver
Data Flow Example
Current Situation and File Struture
Next steps

## Slide 3: Types of data
Calibration data:
  Data from In-kind partners
  Measured data from instruments or elements of the machine (connected to an asset_id)
Verification data:
  Data measured during acceptance tests, at the in kind or during testes in the tunnel
  Data acquired with or without beam (not necessarily at ESS)
  Connected to and asset_id (specific equipment) and also a shift_id
Data type:
  All kinds of file formats and extensions
  Need some kind of connection (cross-reference) to FBS. EAM, etc..
  Calibration database -> takes care of some data (partially)
Calibration, Verification and Commissioning/Conditioning data
EAM
Labels
System FRUs list
Tests report
Test plan
Laboratory devices
FBS, LBS
Data

## Slide 4: Types of data
Conditioning data:
  Measured data from instruments or elements of the machine (connected to an asset_id) and also to a shift_id
  Data takes at ESS (more likely)
  Usually long time series collection. For example: RF conditioning
Commissioning data:
  Data measured during tests, scans or specific measurements in the machine
  With beam (most cases)
  Not connected to one instrument or equipment in particular
  Requires a type (measurement or technique used) and a shift_id identifier
Calibration, Verification and Commissioning/Conditioning data

## Slide 5: Types of data
  Archiver - default solution
    Good solution for many cases
    Works perfectly fine for scalars and compact arrays
    Goodness of data stored depends on how the EPICS channel logged is configured (work in progress)
    Data is saved in a non-synchronous fashion
  What to do when your needs fall outside those boundaries?
    NextCloud (commissioning data and diagnostics data) or other storage solution
    Mainly hdf5 but no specific formatting
    Relies on the person performing the measurement to store the data in the correct file/folder
Data Storage and retrieval
No metadata except for which
EPICS channels are stored
Very hard to find out what was the measurement for
even when searching at the logbook
??

## Slide 6: Main Issues
Decentralized system makes it harder to create solutions that cover many cases: tailored solutions to each specific case demands time and man-power.
A lot of the data has to be reformatted once it arrives at ESS
Even if a lot of stakeholders transforming theirs files to HDF5 the variations are still large across groups/sections
Files have no traceability and no further connections to other systems at ESS (FBS, EAM, etc….)
Questions:
How do we want to organize data?
How and where do we store it?
How to guarantee data traceability?

## Slide 7: Requirements for the data beyond the archiver
A predefined format for the data files that fit all users (stakeholders) at ESS
A place to store those files (server)
A way to search some of the file metadata (coming from the pre-defined structure)
File structure enforced at ESS: HDF5
-> Using Nexus of top of HDF5
INFRA group (ICS) is taking care of this part
Calibration data service (also ICS)
Discussions ongoing with DMSC
Wishlist

## Slide 8: Data Flow
Calibration database
Deployed system
Meas01
SciCat
Embedded HDF viewer
In. ESS
Reformatting to ESS neXus
Ext. ESS
Data storage
Cataloguing
Data source
Data source
EAM
Assets management
ESS User
ESS User
Expert User
Data flow
QR Scanning tool

## Slide 9: Current Situation
We have been working on a data formatting proposal for ESS:
Use the Nexus structure with minimal changes (for now)
Format that can hold files for many different groups and for many different needs
Define which metadata is important and should be available for searches
Working closely with other people:
  LINAC (Alex, Daniel and Rihua)
  RF (Rihua, Paolo, Cecilia and Anirban)
  Diagnostics (Clement)
  Beam Physics (Natalia)
  ICS Software (Jan-Ake)
  Post-mortem and Data-on-demand (Ricardo)
  DMSC (Tobias and Gareth)
https://confluence.esss.lu.se/display/BIG/Data+format+proposal

## Slide 10: Current Situation: File Structure
https://confluence.esss.lu.se/display/BIG/Data+format+proposal
NxEntry: timestamp for start/end of measurement/calibration, asset id, shift id and type
NXUser: name, role affiliation and inkind_id
NXInstrument: here is wehre the description of the equipment used in the measurement comes
NXsource: collection of beam parameters
NXradio_frequency, NXlinac_element, NXbeam_instrumentation, NXmagent and NXlab_instrument
NXData and/or NXLog (for time series)
NXNote: additional notes about the measurement/calibration or verification
NXParameters: process parameters used for data conversion etc.

## Slide 11: Next Steps
Final touches on the format still needed and a second round of checks on the new Nexus Classes.
Send new classes and some test files (coming from BI) to DMSC to start the tests with the cataloguing
Probably a few more iterations with DMSC will be needed until we have a system that could be fully tested. But we hope to have it ready for the next commissioning phase
Write a python class for saving those Nexus files according to the defined format.
Long term:
Continue to work together with DMSC to get the cataloguing solution working for all our file. Polish the file formatting and try to enforce its use at ESS (everybody wins)
Short and long term
Agree/Refine the file format
Define and refined NexusClasses
Develop an API for file saving
Created test files
Scan and test solution in Scicat

## Slide 12: Thank you!
Questions?