## Slide 1: The ESS integrated control system
Henrik Carling
Head of ICS division
www.europeanspallationsource.se
2019-12-09

## Slide 2: The ESS integrated control system
The ESS facility is a large and complex machine with very much and diverse equipment that needs to work in synchronization and with well-known configurations
The Integrated Control System Division (ICS division) is responsible for the control systems within the ESS facility including controls for
  Accelerator
  Target
  Neutron Scattering Systems
  Conventional Facilities
In addition, ICS will implement
  Machine Protection System
  Personnel Safety System
To build a distributed control system of this size is a major undertaking

## Slide 3: The ESS control system - a rich environment

## Slide 4: ESS/ICS challenges
The ESS control system complexity is very high
  About 1 600 000 “process values”
  Ambitious approach to automation of control system configuration
Facility availability goals are very high
  ICS plays a key role for the availability of the facility - 95% availability
  High performance and availability requirements on equipment used
Some new approaches will be implemented at ESS/ICS
  Full scale deployment of EPICS 7
    ESS is committed to contributing to the EPICS community
  Full scale deployment of MicroTCA.4
    ESS is involved in a public procurement for innovation initiative
  Machine learning/Artificial intelligence assisted control system
    Project started to explore how machine learning technologies can be applied

## Slide 5: ICS Project scope
Work package 01 Management and administration
Work package 03 Software core
Work package 04 Hardware core
Work package 05 Machine protection
Work package 06 Equipment
Work package 07 Control system infrastructure
Work package 08 Physics
Work package 09 Personnel safety systems
Work package 10 Integration - Accelerator
Work package 11 Integration - Target
Work package 12 Integration - Instruments
Work package 13 Integration - Conventional facilities
Work package 14 Test Stands
Work package 20 Installation
Software
Electronics
Infrastructure
Safety & protection

## Slide 6: ESS construction is 62% complete
2020 is the peak of construction activity
In-kind deliveries of high tech equipment arriving
Accelerator part of the facility to be ready in 2020/2021
Target part to be ready in 2022

## Slide 7: ESS - A facility under construction
Klystrons, magnets and equipment racks

## Slide 8: Control system installations

## Slide 9: Commissioning the first parts of the accelerator
Ion source and low energy beam transport
First beam in temporary control room

## Slide 10: ICS organization
ICS Management
Henrik Carling - head of division
6 employees
1 consultant
Controls infrastructure
Remy Mudingay - Group leader
5 employees
5 consultants
Protection systems
Annika Nordt - Group leader
16 employees
6 consultants
Hardware and integration
Karl Vestin - Group leader
18 employees
26 consultants
Controls software
Susanne Regnell - Group leader
10 employees
4 consultants
ESS-0081625

## Slide 11: ICS In-kind partners

## Slide 12: ICS in-kind activities - completed

## Slide 13: ICS in-kind activities - ongoing

## Slide 14: Next steps 2020
ICS is preparing for a very intense period of accelerator system integration with the deliveries of the normal conducting linac components MEBT, RFQ and DTL
Meanwhile work progresses with target system integration and work on instrument integration
Workload/resource balance will be challenging during the year and we expect to procure expert services to help offload staff

## Slide 15: ESS driving technology - MicroTCA
ESS is investing significantly in MicroTCA technology
ESS will be around for many years to come
MicroTCA is a hardware platform generating a lot of interest
ESS ambitions for involvement with MicroTCA industry have been lowered

## Slide 16: ESS driving technology - EPICS 7
Experimental Physics and Industrial Control System
EPICS is a set of software tools and applications which provide a software infrastructure for use in building distributed control systems to operate devices such as Particle Accelerators, Large Experiments and major Telescopes. Such distributed control systems typically comprise tens or hundreds of computers, networked together to allow communication between them and to provide control and feedback of the various parts of the device from a central control room
Flexible and scalable
EPICS is used at many science facilities around the world . Typically, there are hundreds of dedicated computers that directly or indirectly control almost every aspect of the machine operation, while workstations and servers in the control room provide higher level control and operator interfaces to the systems, and perform data logging, archiving and analysis
EPICS development
EPICS is developed through a collaborative open-source process where anyone is free to contribute to the EPICS family of software. The development roadmap is defined by the EPICS council which consists of major contributors to the EPICS community

## Slide 17: ESS driving technology - Machine learning
A project is ongoing to explore if modern AI/Machine learning technologies can be used to augment the ESS control system
  Decrease commissioning time and effort
  Increased facility availability (95% goal)
  Increased efficiency of operation
  Improved human/machine interaction
  Lowered operational and maintenance costs

## Slide 18: Control system overview
ICS overview document available [link]
ICS weekly reports (150+ recipients)

## Slide 19: ICS vision and mission statements
ICS vision statement
ESS operated efficiently, reliably and safely, with a control system that everyone loves
ICS mission
The ICS division shall provide and maintain world-class and cost-efficient control, protection and safety systems and services for the ESS facility.
The division shall develop competence and innovative solutions that can be shared in the community through open processes