## Slide 1: LEDP – A Preliminary Design Study
Friederike Salveter
AD and ICS Retreat
December 11, 2013

## Slide 2: Who am I?
Student of Process Engineering
  At Karlsruhe Institute of Technology (KIT), Germany
  Majors: Technical Thermodynamics & Refrigeration Material Science
At ESS since August
  Member of the Vacuum Group
  Writing my Diploma Thesis

## Slide 3: Overview
Low Energy Differential Pumping System (LEDP)
Simulation
Sensitivity Analysis
Design & Layout

## Slide 4: Overview
Low Energy Differential Pumping System (LEDP)
Simulation
Sensitivity Analysis
Design & Layout

## Slide 5: LEDP – Where?
LEDP - 1,88m

## Slide 6: LEDP – Why?
Cryomodule acts as a Cryopump
Warm Linac => Higher Pressure
Particulate contamination leads to field emission -> reduce of Cavity performance
=> Protection

## Slide 7: Overview
Low Energy Differential Pumping System(LEDP)
Simulation
Sensitivity Analysis
Design & Layout

## Slide 8: Simulation
MolFlow
  Molecular Flow Regime
  Monte Carlo Method
  Calculation of Transmission Probability
  Calculation of Steady State Pressure

## Slide 9: Simulation
Pressure Profile
              Texture Scaling: Pressure [mbar]

## Slide 10: Overview
Low Energy Differential Pumping System (LEDP)
Simulation
Sensitivity Analysis
Design & Layout

## Slide 11: Sensitivity Analysis
Variation of Pipe Diameter
One Pump vs several Pumps

## Slide 12: Sensitivity Analysis
Different Pumping Speed
Different Pumping Locations

## Slide 13: Sensitivity Analysis
Variation of DTL Pressure
Change of Outgassing Rate

## Slide 14: Sensitivity Analysis
Baseline:
  2 different pipe diameters: small to large
  Pumps: two pumps sufficient, Position towards the end of the line
  Pumping Speed: 100 – 200l/s
  Outgassing rate: most important!

## Slide 15: Overview
Low Energy Differential Pumping System (LEDP)
Simulation
Sensitivity Analysis
Design & Layout

## Slide 16: Design & Layout
Notes: -Pumps: 300l/s & 150l/s
-FV Sensor, GV, FV, Bellow, Vent Valve + Micron Filter, Angled Valve, Inverted Magnetron Gauge

## Slide 17: Design & Layout
Fast Valve
  Additional Protection
  Against a sudden inrush of gas
  Closure time: 11ms
Performance target
  < 7*1015 molecules enter the Cryomodule in case of an inrush of gas
  Corresponding: ~0,03% coverage of the cryomodule’s surface area in 11ms (Normal operation: ~0,003% coverage per hour)
Notes: Inrush of gas: Leak, Operators error (opening of a valve, etc)

## Slide 18: Design & Layout
Notes: Special attention to unusual links like this weld