## Slide 1: methods for measuring the beam profile in high intensity beams
Charlotte Roose

## Slide 2: BEFORE ESS...
Hometown : Brussels (Belgium)
Background
      University College : Institut Supérieur Industriel de Bruxelles (ISIB)
  Master’s degree in Physics and Nuclear Engineering (graduated in June 2013)
Joined the Beam Diagnostics group in July 2013 as a Marie Curie Early Stage Researcher funded through the oPAC network of the FP7 Marie Curie ITN scheme

## Slide 3: PROJECT
2
2
1
1
3
1
4
Transverse Pofile Monitor of a High Intensity Beam
Non-Invasive Methods
using interaction between the beam and the residual gas

## Slide 4: PROJECT
2
2
1
1
3
1
4
(1)
(2)
Picture Setup@ Zerstörungsfreie Profilmessung intensiver Schwerionenstrahlen, Frank Becker, Darmstadt, 2010
Picture Setup@GSI, T. Giacomini
Luminescence
Ion beam
Viewport
Ionization

## Slide 5: IONIZATION PROFILE MONITOR
43 cm between the magnets
1 wire scanner, 1 ionization profile monitor
Dimension = 10cm x10cm x 10cm
Electric field of 60kV/10cm

## Slide 6: IONIZATION PROFILE MONITOR
2 designs
(3)
(3) Picture Setup@GSI, T. Giacomini
(4) Picture Setup@Fermilab, J. Zagel
SPARKS
FRAGILE
(4)

## Slide 7: IONIZATION PROFILE MONITOR
(3) Picture Setup@GSI, T. Giacomini
(4) Picture Setup@Fermilab, J. Zagel

## Slide 8: IONIZATION PROFILE MONITOR
LENS BOX
(3) Picture Setup@GSI, T. Giacomini
(4) Picture Setup@Fermilab, J. Zagel

## Slide 9: Ionization Profile Monitor
Experiments at DESIREE

## Slide 10: Ionization Profile Monitor
Experiments at DESIREE

## Slide 11: Ionization Profile Monitor
Experiments at DESIREE
Screens

## Slide 12: Ionization Profile Monitor
Experiments at DESIREE
PMT
Hamamatsu H7260-100
Linear Array Multianodes
0,8mm x 7mm x 32anodes
31,8mm x 7 mm

## Slide 13: Ionization Profile Monitor
Experiments at DESIREE
Results
Chart: ITO-220VPMT-41nAscreen-20kV
 | -0.109 | 0.111 | 0.185 | 0.262 | 0.348 | 0.403 | 0.505 | 0.564 | 0.731 | 0.767 | 1.028 | 1.234 | 1.589 | 1.733 | 2.056 | 2.349 | 2.853 | 3.275 | 3.642 | 3.91 | 4.109 | 4.008 | 3.812 | 3.415 | 2.746 | 2.287 | 1.999 | 1.583 | 1.332 | 1.057 | 0.85 | 0.688

## Slide 14: Ionization Profile Monitor
Experiments at DESIREE
Results
Chart: kV
| 10 | 10 | 20 | 20 | 30 | 30
P47 ITO | 3.9362 | 4.4665 | 5.4824 | 5.1403 | 6.4612 | 6.126
P47 ITO Al+ | 1.2137 | 1.2087 | 3.5026 | 3.0297 | 0.8095 | 0.81516

## Slide 15: Ionization Profile Monitor
Experiments at DESIREE
Results
Chart: with multiwire stripper
| 10 | 10 | 20 | 20 | 30 | 30
P47 ITO | 17.9001 | 18.1918 | 11.8258 | 11.9352 | 17.8502 | 17.6635
P47 ITO Al+ | 7.8901 | 7.9091 | 11.1407 | 1.2826 | 5.0714 | 1.8365 | 1.7697 | 1.5462 | 1.5906
Beam shifted

## Slide 16
Thank you for your attention