## Slide 2: CONTROL HUTCHES
PRESENTED BY Gabor Laszlo

## Slide 3: “Strategy”
NSS is not planning to take over the scope and procurement due to the lack of administrative resources. We are helping with the coordination if necessary.
Skanska Direct is building the BIFROST Hutch. NSS considers this as a pilot project and based on the experiences we are going to recommend the company to supply the hutches
Skanska Direct is capable of building the hutches according to Swedish legislation. They have partners to prepare structural design and electrical installation.

## Slide 4: Requirements
Structure
Applicable EUROCODE standards (1, 5 or 9)
Utilities
The delivered assembly shall conform to all European Directives and all applicable components or systems shall be CE marked.
Electrical standards: subset of ESS-0100666
  It is not allowed to have any halogen in the cables
  If the area is classified as a permanent working area then EMC needs to be considered.
Quality management: ISO-9001, or similar

## Slide 5: Questions?