## Slide 1: Mechatronics and Systems Integration
Work package (WP) Update
PRESENTED BY anders pettersson
ECDC ( ..50% MESI )

## Slide 2: Prelude: Anders in ECDC and the ECDC Interfaces
Instruments
NSS
  Chopper Group
  Detector Group
Science
  Motion Control and Automation
  Sample Environment
  Data Analysis and Modelling
  Data Systems and Technologies
ICS
  WP12
  Infrastructure
Always:
+ in kind partners

## Slide 3: Agenda
1 MESI interfaces
2 Development projects highlights (SECoP etc next presentation)
3 SES Integration
4 Utgård, Ymir and moving to site
5 Summary: Highlights and challenges

## Slide 4: MESI WP update
Integrated Control systems Division (ICS)
  Communication works well (Utgård!)
  Work on integration tasks is well structured
  Functional infrastructure provided
Experiment Control and Data Curation (ECDC)
  MESI integration workflow feeds in to ECDC
  Start to see synergies in development projects
  Facilitates cross tech group discussions
  Starts to get an “overview” of instrument control needs
Motion Control and Automation (MC&A)
  3axis SCAN project -> lessons learned
  ->Improved understanding and communication
  Wishlist: timestamping and flexibility
Sample Environment (SE) Internally
  In general good communication, and improving
  SES projects and Integration projects still need better alignment
  Few available details on future projects
Main interfaces

## Slide 5
Development project highlights
2

## Slide 6: MESI WP update
2BLUE racks
  Mobile SES racks dedicated for controls development
  1 LS336 each + e.g. pwr suppl, PLC, etc..
  Always available
  For dev of PnP, mobility, modularity, configuration/calibration handling etc..
SES Plug and Play and Network mobility
  Network structure is being setup for prototype testing
  Native NICOS PnP will be tested Q3
Development projects highlights

## Slide 7: MESI WP update
Timestamping
  Better then 10ms resolution and accuracy
  Essential for e.g. sweep-scans, oscillatory exp
  First use case: Stress/Strain rig project
  3 technical solutions endorsed by ESS:
    PTP (Precision Time Protocol)
    NTP+PPS (Pulse Per Second)
    ESS ADC hardware setup
  MESI will setup a system for development and evaluation
Development projects highlights

## Slide 8: MESI WP update
In-house electronics and PLC for SE signals toolbox
  Positive experience with Beckhoff for generic control
  Beckhoff compatible with ESS timestamping approach
  Beckhoff is MC&A motion control standard
  In-house electronics for generic tasks
    Power amplifier
    Generic IO
    Built in monitoring and fault detection
Development projects highlights

## Slide 9: MESI WP update
  Multichannel project with FLUCO
  8ch Multichannel modular prototype basic control near ready (for LOKI changer)
    PLC hardware crate ready and connectors/cabling ongoing
    PID loops and monitoring ready for test
    Power amplifier design/PCB ready(v1), but..
  Some delay induced by:
    An unfortunate power amplifier design
    Delayed hardware
    Communication issue with Beckhoff (and SECoP)
  Normal development project experience. Solutions will be found. Valuable lessons will be learned.
Development projects highlights
MESI supporting the original Huginn SES running EPICS during experiment at HZB

## Slide 10: MESI WP update
  Mobile robotics platform project.
  Project led by MC&A, MESI coordinating SE input
  In-kind by Juelich
  No exciting pictures yet but there will be a critical design review next week (MESI is in review panel)
Development projects highlights

## Slide 11
SES integration
3

## Slide 12: MESI WP update
Alignment between SE projects and the Jira workflow used by ICS, ECDC and MESI need to be improved
Integration requirements and system design are as essential as good communication in a successful integration project
A SE integration project need to be an active collaboration. Projects need to be discussed, tested and iterated…continuously
Currently ICS have very few SE tasks active
SE
Initiates a new integration process with MESI
MESI
Starts integration project
ECDC
Prioritizes tasks
ICS
EPICS integration
Raises task with ECDC
Raises to ICS
Receives tasks from groups
( SES controls hw/sw)
Coordination/development
Integration projects workflow
Simplified view of workflow for SES integration at ESS.

## Slide 13: How to start and run a project?
Meeting to explain the system with all stakeholders, at least around the time the critical mass of hardware arrives to sensibly start the integration
Valuable Information:
  What does the system do?
  How will the average user use the system, including API and UI?
  What functions are needed for commissioning or maintenance?
At least one master ticket in Jira (BCG)
We may create more tickets for subtasks
We do expect some interaction on these tickets
There will be intermediate integration milestones to tick off, i.e. review
A final test should be done at Ymir with NICOS (or better alternative).

## Slide 14: MESI WP update
PREMP Stress/strain rig “Rig1”
  MESI supporting the Rig1 early for timestamping and integration
  The required timestamping is under development at ESS
  Communication with NPI is good and progress is being made.
TEFI Orange cryostat project
  Project “restarted” with new JIRA structure
  Next is motion control of needlevalve
Integration projects

## Slide 15: MESI WP update
FLUCO Syringe pump and Resistor decade
  Both projects restarted
  Baseline integration available
  Only demo and test of integration required to finalize projects (baseline integration)
Integration projects

## Slide 16
Utgård, Ymir and moving to site
4

## Slide 17: MESI WP update
  MESI workspace, as good as, fully functional
  Increasing electronics support capability
  Fruitful and frequent interactions with: SE team, ICS, ECDC, MC&A and others
  Network infrastructure functional with tools allowing us to setup IP for new equipment, config virtual networks, or start virtual machines etc.
  The YMIR is available
  Cold as hell….
MESI Utgård workshop area
MESI area
YMIR cave

## Slide 18: MESI WP update
YMIR endorsed to be next step in integration development testbed, ECDC leading.
  Runs a separate (virtual ) network to simulate real instrument
  Mobile PREMP 3 Axis SCAN system available
  Access to a ESS timing system testing network
Planned to enable development and testing of:
  SES mobility between networks
  SES Plug n Play functionality
  High accuracy and resolution timestamping for SES
MESI for YMIR
YMIR: a “beamline” for controls development

## Slide 19: MESI WP update
Planning layout
Providing input on
  Infrastructure: power, coolingwater, timingsystem, network etc
“operations” infrastructure and support required
  Network functionality , EPICS, Archiver , CSEntry, ALARM handler, etc
Moving to site
“live” planning transferred to detailed schematic drawing

## Slide 20
Summary
5

## Slide 21: MESI WP update
Good things
  MESIs interfaces are working quite OK
  Our workshop (utgård,YMIR) is functional
  ICS and ECDC have provided functional tools
  We have a way forward for timestamping
  Multichannel prototype is progressing
  SECoP a suitable for work from home
  YMIR Table asked ESS workshop for help ->table appeared!
Challenges
  Ensure seamless transfer and continued cooperation when moving to site location
Summary

## Slide 22: MESI WP update
Summary
  MESI puts much effort now to develop efficient tools and structures for the future.
    Efficiency
    Modularity
    Flexibility and stability
  Developing hardware
  All with focus/ambition to supporting the SE team and being compliant with ESS
Summary2

## Slide 23: Fin