## Slide 1: Helium recovery update
STAP April 2020
PRESENTED BY Alex Holmes with thanks to Philipp Arnold, Roy Montheli

## Slide 2: Agenda
1 ESS cryogenic system
2 Test and Instrument Cryoplant (TICP)
3 Helium recovery backbone
4 Summary

## Slide 3: ESS Cryogenic System Block Diagram
Pure Helium
Gas Storage
Standalone Helium Purifier
Helium Recovery System
Accelerator
Cryoplant
5 m3
LHe Tank
Target Moderator
Cryoplant
LHe Mobile Dewars
Test Stand Cryodistribution System
Instruments & Experiments
LN2 Storage Tanks
LN2 Mobile Dewars
Cryodistribution System for Elliptical Linac
Elliptical
Cryomodules
Test Stand Lund 2
Target Cryodistribution System
Hydrogen Circulation Box
Hydrogen Moderator
Cryodistribution System for
Spoke Linac
Spoke
Cryomodules
20 m3 LHe Tank
Test & Instrument Cryoplant

## Slide 4: TICP liquefier status (Oct 2019)
Recovery system and external purifier operational since summer 2018
TICP entirely operational since December 2018
Documentation completed in summer 2019
Several improvements by ESS, particularly controls
More than 3600 l liquefied (and partly recovered) from Lund University and MAX IV
Cryodistribution for CM teststand tested

## Slide 5
Design work starting in E01
Main pipework
⌀ 50-80 mm
Instruments connections
⌀ 25mm
One gas bag in compressor building

## Slide 6: Helium recovery for instruments in E01
Recovery pipework

## Slide 7: He recovery connection in workshop and loading bay
He recovery
Dewar parking zone
revised position

## Slide 8: Summary
Achievements:
  Helium liquefier running and already providing lHe to MAX IV and Lund University.
  Infrastructure group now taking lead on design of main pipe network with input from SAD and cryogenics.
  Space claim nearly complete, ready to start detailed design on E01 of central pipework.
  Priority is instrument interfaces.
  ESS signed up to HZB-STFC-ILL collaboration agreement for helium management.
Next steps:
  Specification followed by detailed design for instrument, workshop and parking station connections.
  Development Helium management system, based on systems at existing facilities
Challenges:
  Many stakeholders (SAD, Instruments, CF, Cryogenics, logistics…), competing priorities.