## Slide 1: STUB fire sealing
Robbin Peterson and Mats Pålsson
www.europeanspallationsource.se
20-01-29

## Slide 2: STUB data
How many STUBS
2 Warm Linac
3 Spoke
1 Spoke/Medium Beta
4 Medium Beta
10,5 High Beta
6,5 Contingency
27 STUBS in total
STUB

## Slide 3: STUB data
Dimensions of STUBS
6 STUB: section W=1800mm, H=1500mm
21 STUB : section W= 1200mm, H=1500mm
Bilbao
Bilbao

## Slide 4: STUB data
Content in STUBS
Waveguides for RF distribution
Cables for Power and Signals
PSS sampling pipe
Cassette for Beam Instrumentation components
Radiation “shielding”/ sealing
Fire sealing
Cooling system to handle heat load from WG and Power Cables (design tbd, probably air cooling applied outside the STUB at the gallery side)

## Slide 5: STUB data
Content in STUBS
Waveguides for RF distribution
Number of waveguides: 158
Total length of WG in STUBS: approx. 1800 meter

## Slide 6: STUB data
Content in STUBS
Cables for Power and Signals
Max number of cables in one STUB: approx. 550
Total number of cables running through the STUBS: approx. 10.000

## Slide 7: STUB test installation
Waveguides G01 Tunnel side

## Slide 8: STUB test installation
Waveguides G01 Tunnel side

## Slide 9: STUB test installation
Waveguides G02 Gallery side

## Slide 10: STUB test installation
Waveguides G02 Gallery side

## Slide 11: STUB fire sealing
Fire sealing 2 x EI 60
60 minutes fire resistance in both upper and lower end of STUB
”Radiation Sealing”
Leakage rate per Stub not final decide

## Slide 12: STUB fire sealing

## Slide 13: STUB fire sealing
Installation sequence
Installation of Fire sealing

## Slide 14: STUB fire sealing
Installation of Fire sealing – Mock Up test

## Slide 15: STUB fire sealing
Installation of Fire sealing – Mock Up test

## Slide 16: STUB fire sealing
Installation of Fire sealing – Mock Up test