## Slide 1: Heat recovery at European Accelerator Based Facilities – Possibilities and Opportunities
Johanna Torberntsson
Master thesis student, Department of Energy Sciences, Lund University
www.europeanspallationsource.se
April 28, 2014

## Slide 2: Surplus heat recovery as an energy efficient measure
30 000 accelerators in the world
electricity  heat
EuCARD-2 , EnEfficient
Heat recovery from cooling circuits

## Slide 3: Energy-related parameters are analysed
10 in operation
2 under construction
Energy consumption
Cooling methods
Energy related costs

## Slide 4: Surplus heat technologies
Technologies for heat recovery
Survey to industries
Low temperature heat to preferably be used in its current state
Heat and heated water flows

## Slide 5: Correlation between electricity sources and price
Chart: Energy sources
| PSI | ESRF | ISIS | KVI | INFN | CERN | ESS | MAX IV
nuclear | 34 | 90 | 20 | 5 | 1.8 | 80.5
renewable | 66 | 8 | 10 | 5 | 36.7 | 12.5 | 100 | 100
coal | 35 | 70 | 14.6 | 3
other | 2 | 35 | 20 | 46.9 | 4
Chart: Electricity price (€/MWh)
| 1.PSI | 2.ESRF | 3.ISIS | 4.KVI | 5.INFN | 6.ALBA | 7.GSI | 8.CERN | 9.SOLEIL | 10.DESY | 11.ESS | 12.MAX IV
 | 0 | 57 | 96 | 80 | 149 | 128 | 120 | 49 | 71.82 | 138 | 50 | 50

## Slide 6: There are different reasons to the size of the energy budget
Chart: Electricity price (€/MWh)
| 1.PSI | 2.ESRF | 3.ISIS | 4.KVI | 5.INFN | 6.ALBA | 7.GSI | 8.CERN | 9.SOLEIL | 10.DESY | 11.ESS | 12.MAX IV
 | 0 | 57 | 96 | 80 | 149 | 128 | 120 | 49 | 71.82 | 138 | 50 | 50
Chart: Energy-related part of costs (%)
| 1.PSI | 2.ESRF | 3.ISIS | 4.KVI | 5.INFN | 6.ALBA | 7.GSI | 8.CERN | 9.SOLEIL | 10.DESY | 11.ESS | 12.MAX IV
 | 4.197 | 4.625 | 13.3333 | 6.3636 | 45 | 18.9189 | 8.3333 | 6.6 | 5.3333 | 13 | 10.7143 | 6.2264

## Slide 7: How much of the energy budget is spent on other things than the electricity price?
Chart: Cost directly related to electricity consumption
| ESRF | ISIS | KVI | INFN | ALBA | GSI | CERN | SOLEIL | ESS | MAX IV | DESY
 | 1.0143 | 0.89286 | 1.0479 | 1.2081 | 1.3672 | 1.25 | 0.9535 | 1.2118 | 1.0676 | 1.1111

## Slide 8: There are large amounts of surplus heat that could potentially be reused
Chart: Electricity consumption (GWh)
| 1.PSI | 2.ESRF | 3.ISIS | 4.KVI | 5.INFN | 6.ALBA | 7.GSI | 8.CERN | 9.SOLEIL | 10.DESY | 11.ESS | 12.MAX IV
 | 125 | 64 | 70 | 4.175 | 25 | 20 | 60 | 1220 | 36.768 | 150 | 270 | 65.625
Chart: Thermal energy generated from electricity (%)
| 1.PSI | 2.ESRF | 3.ISIS | 4.KVI | 5.INFN | 6.ALBA | 7.GSI | 8.CERN | 9.SOLEIL | 10.DESY | 11.ESS | 12.MAX IV
 | 84.8 | 93.75 | 100 | 71.8563 | 52 | 90 | 100 | 81.9672 | 27.1976 | 40 | 113.7037 | 0

## Slide 9: Reduced mixing of flows keep the temperatures high
Heat is dissipated more through the system when only considered an expense
To receive more high-grade heat, less mixing of tempered water flows is required

## Slide 10: The most suitable cooling method depends on local prerequisites
COP = Auxiliary electricity/thermal load evacuated
Cooling towers: ISIS, INFN (14%), GSI, CERN (10% LHC), SOLEIL, DESY, KVI
River heat exchanging: PSI (5%), ESRF (10%)
District Heating: ESS (22%), MAX IV

## Slide 11: Surplus energy can heat the own buildings
Building heating requirements too low to meet cooling demands for facilities
Internal District Heating
Chart: Building heating requirements (MWh/m2)
| 1.PSI | 2.ESRF | 3.ISIS | 4.KVI | 5.INFN | 6.ALBA | 7.GSI | 8.CERN | 9.SOLEIL | 10.DESY | 11.ESS | 12.MAX IV
 | 0.088385 | 0.087662 | 0.16026 | 0.088853 | 0.027368 | 0.043333 | 0.15602 | 0 | 0 | 0 | 0.05618 | 0
Chart: Building cooling requirements (MWh/m2)
| 1.PSI | 2.ESRF | 3.ISIS | 4.KVI | 5.INFN | 6.ALBA | 7.GSI | 8.CERN | 9.SOLEIL | 10.DESY | 11.ESS | 12.MAX IV
 | 0 | 0.1039 | 0 | 0.0025848 | 0.010526 | 0.33333 | 0.063382 | 0 | 0 | 0 | 0.019101 | 0

## Slide 12: Surplus heat can be utilised in many ways
State of the art techniques
Energy recovery possibly a new research area for accelerator based facilities
Develop concept for other industries
Mainly low temperature heat

## Slide 13: High temperature solutions
District Heating - 80°C
Heat-driven cooling - 80°C - large amounts of cooling water - more efficient to produce cooling with heat than to first produce electricity
Organic Rankine Cycle - ca 80°C; Low efficiency but may be an option if the electricity is expensive

## Slide 14: Low temperature solutions
Backup – planned and unplanned shutdowns
Heat storage evens out variations

## Slide 15: LTDH networks utilises the low tempered heat
Larger accommodation areas
Lystrup: Supply 55°C, return 30-35°C
75 % less heat losses compared to traditional DH
Integration already in design phase
The low-temperature heat enters the economical system

## Slide 16: Surplus heat can produce food and fodder
Illustration: Peter Lönnegård & Fredrik Indebetou

## Slide 17: 40°C can increase the efficiency in several processes
Wastewater treatment
Oxygen, nitrogen separation
Ultrapure water production

## Slide 18: Seasonal variations needs to be covered
Ground heating applications will need other method during summer
Also greenhouses have a more even heat demand but there is still need for backup
Wastewater treatment can better follow variations

## Slide 19: Heat recovery a new research field?
Energy effective measures during upgrades
Separation of flows – highest possible temperature
Modeling of energy flows
Time optimisation – synchronisation between distributor and reciever of surplus heat

## Slide 20: References
Recycling of surplus energy at European Spallation Source:
Danfoss/COWI, 2013-11
EON, 2013-11-15
HotSwap, 2013-11-11
Kraftringen, 2013-11-14
SLU – Swedish University of Agricultural Sciences. R&D-program SSE-C – Swedish Surplus Energy Collaboration, 2013-11-14
VA SYD, 2013-11
Colleagues at the respective facilities:
Bouteille, Jean-Francois, ESRF
Burckhart, Helfried, CERN
Casas, Joan, ALBA CELLS
Claudet, Serge, CERN
De Jong, Jan, KVI
Eymard, Philippe, SOLEIL
Findlay, David, ISIS
Hofstee, Mariet, KVI
Jensen, Jens-Peter, DESY
Lavesson, Lars, MAX IV
Lindenberg, Jan, GSI
Reinhard, David, PSI
Ricci, Ruggero, INFN
Expertise from ESS:
Hjern, Thomas, ÅF consultant at ESS
Lindström, Erica, Project Coordinator, Energy Division, ESS
Parker, Thomas, Head of Energy Division, ESS
Text references:
Energy Inventory, ESS-0003989, Lindström E, 2014-02-24
Study of working fluid selection of Organic Rankine Cycle (ORC) for waste heat recovery, E.H. Wang et al, Energy 36, 2011 http://dspace.imech.ac.cn/bitstream/311007/44862/1/SCI-J2011006.pdf
Thermodynamics – An Engineering Approach, Cengel and Boles, 2008
Thermally driven cooling: Technologies, Develeopment and Applications, Núnez T, Fraunhofer Institute, Freiburg, JOURNAL OF SUSTAINABLE ENERGY, VOL. 1, NO. 4, DECEMBER, 2010 , www.energy-cie.ro/archives/2010/nr_4/v4-03_nunez_thomas.pdf
Energy management for large-scale research infrastructures, Bordry F, Parker T, Rizzuto C, 2011-10-13
Värmedriven kyla, Rydstrand M et al, Energiprocesser KTH, Forskning och Utveckling 2004:112
”DesiCool, Omvandlar värme till kyla”, Munters, www.munters.se
Strategic Sustainability Performance Plan, U.S. Department of Energy 2012
Climate Change Adaptation Plan, U.S. Department of Energy, 2011
Scorecard on Sustainability/Energy, U.S. Department of Energy 2013

## Slide 21: Questions
100521 ESS Activity report p.18
Thank you for your attention!