## Slide 1: Unit Testing in EPICS
Juniper Willard

## Slide 2: Unit Testing
Developer Code is a collection of small logical Units
  Perhaps similar to a function.
Each unit is a contract.
  Defined by specifications.
Create test code to test each unit of Developer Code.
  Unit Tests exercise each Unit (isolated) versus the contract.
  Often multiple tests for for each Unit.
Tests should run automatically at Make/Build.
  Should also run tests for each feature of development.

## Slide 3: Unit Testing (cont.)
Errors caught early in development.
Unit tests provide living documentation.
Provides evidence of errors introduced later.
  Returning to code.
  Legacy code.
Process appears redundant.
  Benefits are statistical significant [1].
  Academia lags industry [2].
[1] H. Munir et al., “Considering rigour and relevance when evaluating test driven development: A systematic review”,
Information and Software Technology, 56 4, pp 375-94 (2014).
[2] arXiv preprint arXiv:1506.05272v1 [cs.SE] 17 Jun 2015.

## Slide 4: Introducing TEPIC
Nothing appeared to exist.
Creation of Testing EPICS Programs with I/O Control (TEPIC).
  Considered compiled program.
  Written as BASH Script.
  Uses standard utilities (Expect, Awk, Netcat, & Socat).
TEPIC tests internal operation of an IOC.
  Typos
  Logical errors
  Faulty assumptions

## Slide 5: TEPIC Interactions
File (Commands)
TEPIC (Master)
Read
Caget
Caput
procServ
Commands grouped into Tests.
Tests may reset IOC.

## Slide 6: Example IOC

## Slide 7: TEPIC Execution
Test Command File
{ Test Calc
+ calc:a 2
+ calc:b 3
? calc:sum 5
}
Start Test “Test Calc” (Reset IOC)
Set calc:a to 2
Set calc:b to 3
Test if calc:sum is 5
End Test “Test Calc”

## Slide 8: External Stimuli
External stimuli?
  Few IOCs exist in isolation.
Mocking offers advantages to testing against actual equipment.
  Test prior to arrival of equipment.
  Rapidly produce differing results.
  Produce results from undesired circumstances.

## Slide 9: Introducing Macaw
Written in Perl.
  Mocks communications.
Doesn‘t require TEPIC to run.
Can mock for programs other than IOCs.
Server which has two channels:
  Control: Commands from TEPIC (plain ASCII) for configuration.
  Communication: Messages/Responses with IOC under test.

## Slide 10: Macaw Interactions
File (Commands)
TEPIC (Master)
Read
Caget
Caput
Control Channel
Communication
Channel
Macaw (Mocking)
Expected Message /
Response Table
Does Unit fulfil contract?

## Slide 11: Example IOC
GET? → Numeric Value
Asyn Stream
Port 1234

## Slide 12: TEPIC & Macaw Execution
Test Command File
[ Setup
M ip 1234 ip 5678
Ma GET?
Mv 10
]
{ Test Calc
+ calc:a 2
? calc:sum 12
}
Start Test “Setup” (No Reset IOC)
Start Macaw on ports 1234 & 5678
Add Expected Message “GET?” to Macaw
Set Response for “GET?” to be “10”
End Test “Setup”
Start Test “Test Calc” (Reset IOC)
Set calc:a to “2”
Test if calc:sum is “12”
End Test “Test Calc”

## Slide 13: Future Considerations
TEPIC
  Parallel IOC Handling.
  Functional Tests (parameters & repetition).
  Loops and Conditionals.
Macaw
  Additional communication protocols (now limited to TCP).
  Macros for data conversion (likely useful for binary protocols).
Additional Code
  Custom C/C++ Code.
  SNL Programs.

## Slide 14
Operating Funding Partners

## Slide 15: Obtaining
TEPIC and Macaw will be released shortly on the Canadian Light Source Open Source Website: http://exshare.lightsource.ca/OpenSource/Software
  Navigate to EPICS / TEPIC Suite
  Juniper Willard of the Canadian Light Source
    Juniper.Willard@lightsource.ca