## Slide 1: CS-Studio Collaboration Status
Eric Berryman, Kay Kasemir

## Slide 2: Overview
Collaboration Statistics
  Feedback from Issues
  Comments Activity
  Issues Activity
  Milestone Activity
Milestones Status
  4.3.x (testing->stable)
  4.4.x (unstable->testing)

## Slide 3: Feedback from Issues

## Slide 4: Comments Activity

## Slide 5: Issues Activity

## Slide 6: Issues Activity

## Slide 7: Milestone Activity

## Slide 8: Closing 4.3.x (testing to stable)
4.3.x due date end of this month
  Simplify users ability to save, load, share, distribute Perspectives
  Save set restore UI, interface works with Git and MASAR
  PVTable “Measurement” updates by GANIL/Spiral2
  Move to Java 8 Time API (Instant, Period)
  Unit test cleaned to all passing
  BEAST datasource for Diirt
  New Display Builder Prototype available for testing

## Slide 9: Save Set Restore
Extension for Git and MASAR providers

## Slide 10: Display Builder
See GitHub ticket “Display builder update” #1230 for links to
  Instructions for installing into CS-Studio
  Source code, build instructions
Please join:
  Test, report errors
  Add support for more widgets & properties

## Slide 11: Code a thon
April 4-8 2016 at Brookhaven National Lab

## Slide 12: Code a thon
Quality Management Review
Reviewed new Display Builder
Fixed all unit tests (500) to pass
All logging to java.util.logging
Discussed training material
Feedback from NSLS2 Operations
Updated date code to Java8 time
600,000 lines of code removed

## Slide 13: 4.4.x (testing)
4.4.x due date latest December, projects at the present
  New Display Builder prototype available for testing
  Investigate CPython in CS-Studio
  Improve customer feedback

## Slide 14: ISO 9001 Quality Standard
Following as a guideline to improve quality
    Management Review
    Quality Policy and Objectives
    Process Performance and Product Conformity
    Status of Corrective and Preventative Actions
    Customer Feedback Analysis
    Decisions and Actions for improvements
    Resource needs
Customers
Requirements
Customers
Satisfaction
Resource Management
Measurement, Analysis and Improvement
Product Realization
Management Responsibility
Product
information
activities
Continual Improvement of the Quality System
taken from ISO 9001

## Slide 15: ISO 9001 Quality Standard
Following the ISO 9001 Quality Standard for past 2.5 years
  Processes for continuous improvement are well defined
  Finished our third Management Review in April
  FRIB Quality Engineer will perform second audit in June
  Code base has gone from 3.8 to 0.8 million lines of code
  Over 500 unit tests, and code format checks, all passing
  Collaboration now includes 10 labs that have registered site representatives

## Slide 16: Registered Sites
Sites that have given a name and contact as “Site Representative”
  CSIRO
  CSNS
  DESY
  Diamond
  Facility for Rare Isotope Beams (FRIB) at MSU
  GANIL/Spiral2
  ISIS
  ITER
  National Synchrotron Light Source II (NSLSII) at BNL
  Spallation Neutron Source (ORNL)

## Slide 17: Management Review
Modified Quality Policy and Objectives
Policy:
  Through a strategy of continuous improvement and teamwork, the Control System Studio Collaboration is dedicated to supplying control system tools for machine and experiment operator interfaces, automation and service integration to enable our users to achieve their scientific objectives.
  The foundation for achieving our commitment is based on:
  understanding and meeting the requirements of our users,
  continuously improving all processes related to the Control System Studio product,
  effectively utilizing the creative talents in the collaboration,
  and meeting statutory, regulatory, and other requirements.
Objective:
  90% User satisfaction from registered sites with a site representative
  90% Developer satisfaction from registered sites with a site representative

## Slide 18: Management Review
New project, design and development workflow

## Slide 19: Management Review
Create new developer satisfaction survey for new objective
Created new tickets in response to customer survey results and NSLS2 Operations feedback discussion
  Data Browser: Allow configuration of 'Area's opacity
  Data Browser: add hot keys for zoom in/out
  Multiple Data Browser windows that share a time axis

## Slide 20: How to Contribute
Fork us Github
  https://github.com/ControlSystemStudio/cs-studio
Pick an issue/feature or make one
  https://github.com/ControlSystemStudio/cs-studio/issues
Create a branch in your fork with the fix or feature
Make a Pull Request with the issue number in the title
Attend meetings, know the release schedule, subscribe to mailing list

## Slide 21: Development Process
Amazon S3
Jenkins
Github
Product Build
Pull Request (must reference issue ticket)
Feature Owner Reviews
Commits as Needed

## Slide 22: Development Process

## Slide 23: Development Process

## Slide 24: Attend Meetings
We use Google Hangouts to share our progress and discuss issues
  Follow us on Google Plus
  https://plus.google.com/101349549663920375487/posts
  Meetings are posted (viewable after being added to group)
  First Wednesday of the month (9am EST)
  Project group meet once a week when actively developing

## Slide 25: CS-Studio Summary
Established Collaboration
  Documented Processes for continuous improvement
  About 10 registered Sites
  Several active Developers
A lot going on
Feel free to join