## Slide 1: regDev Simple access to register based devices
Dirk Zimoch :: Controls :: Paul Scherrer Institut
EPICS collaboration meeting, Lund 2016

## Slide 2: What is the purpose of regDev?
[···]
record
record
record
record
record
register map device
longin
longout
ai ao
mbbi
mbbo
bi bo
mbbiDirect
mbboDirect
ai ao
waveform
aai aao
stringin
stringout
offset 0x0000
regDev
1*n bytes
(n = 1,2,4,8)
masked n bytes
m*n bytes
int8, uint8,
int16, uint16,
int32, uint32,
float,
double
masked uint8,
uint16, uint32
array of
int8, uint8,
int16, uint16,
int32, uint32,
float,
double
Make the driver interface simple
record

## Slide 3: What is included in regDev?
regDev
array scaler
Device support for all standard EPICS records
A simple interface to register map drivers
Optionally with asynchronous read/write, I/O intr, DMA
Copy utility with mask and byte swap support
ai record
ao record
aai record
···
updater
readArray()
writeMaskedArray()
aao record
Device Supports
low level driver
dmaAlloc()
I/O Intr
async completion

## Slide 4: Feature: Periodic Updater
read
updater
Synchronize output records with device set values
A feature really missing in EPICS base
Read back and update output records periodically (Do not write to device again)
set value
out record
read value
in record
read
write
write
out record
in record
out record
read
FLNK
DOL
OUT PP
SDIS
.PACT
.SCAN=…
OUT PP
UGLY
external dial

## Slide 5: Feature: Dynamic offset calculation
Offset can be simple static integer expression: 0x1000+12*4 written with macros: $(base)+$(x)*4
Or dynamic: 'record'*0x100+0x1000+$(x)*4
record
record
record
ping-pong buffer
record

## Slide 6: Example low level driver: mmap
VME
  A16, A24, A32, CRCSR, BLT, MBLT, 2eSST
Device file (on Linux)
  Physical address: /dev/mem
  PCI device: /sys/bus/pci/devices/*:*:*.*/resource*
  User Space I/O device: /dev/uio*
  Shared memory file: /dev/shm/*
  ...

## Slide 7: Future feature: buffered read
record
record
record
record
record
longin
longout
ai ao
mbbi
mbbo
bi bo
mbbiDirect
mbboDirect
ai ao
waveform
aai aao
stringin
stringout
regDev
[···]
register map device
[···]
local buffer
(DMA) read

## Slide 8: Future feature: asyn interface (?)
regDev
array scaler
ai record
ao record
aai record
···
updater
aao record
Device Supports
asyn interface
asyn
driver
(If I have really nothing else to do.)

## Slide 9: Wir schaffen Wissen – heute für morgen