## Slide 1: Halls and Infrstructure
DREAM, ODIN, VESPA Instrument Group

## Slide 2: Floor Settlement
Floor settlement requirement under the instruments
The floor in the experimental halls and bunker area will due to dynamics loading have a stability for elastic movement.: 3mm
Stability for creep/deformation over the lifespan of the facility: 3mm

## Slide 3: Infrastructure
Infrastructure routing
Nitrogen/Deionized water/Compressed Air/LAN

## Slide 4: Infrastructure
Cooling Water
Fume hoods
Exhausts
Notes: 27kW/instrument

## Slide 5: Infrastructure
Tap Water
Power outlets

## Slide 6: Power distribution concept
Substation
Galery/Halls
Instrument distribution panel
/Main grounding zone./
Instrument distribution panel
/Grounding zone X/
Bunker distribution panel
/Bunker zone/
Lights
Motion
...
Chopper
Vacuum
Light
Detector
...
Motion
SAD
Instrument 1
Instrument 2
Instrument 3
Instrument 4
Instrument X
CF responsibity CF budget
NSS responsibity, Instrument budget
NSS responsibity, NSS budget
Notes: Cost for Utility panels tbd

## Slide 7: Cranes
There will be crane
Coverage throughout
D01

## Slide 8: Lab Spaces
N
E03
E04
E01
E02
D03
D01
D02
D04
D08
D07

## Slide 9: Issues/Questions
Grounding areas (e.g. technical equipment in different area from drive units)
Specialty gases can be supplied in bottles AFTER safety review
General safety issues (Swedish regulations vs local)
Bunker baseplate design
Elevation (beam height): additional slab to reduce beam height i.e. shielding
Clearance to building wall (distance and height)
Air Conditioning
Money ;-)