## Slide 1: CERN SM18 RF Test Facility Helium distribution
T. Koettig, R. v. Weelderen, O. Pirotte,
P. Maesen, M. Therasse
SLHiPP meeting 17. - 18. April 2013

## Slide 2
M7
M9
V3
V4
V5
V6
Cryogenic Infrastructure Upgrade
RF Test facility area
New helium transfer line
He supply
from 25 m3
liquid tank
Top view of the CERN SM18 RF test area, showing the new cryogenic infrastructure.
Horizontal test stands
M7 and M9 for cryomodules
Vertical test stands
V3 to V6 for cavities
Courtesy J. Mouleyre

## Slide 3
SM18 RF TF : General PID for 2013
M7 Service module
where we measure TL performance

## Slide 4
SM18 RF TL - performance test
QLKRF M7 @ 2 K

## Slide 5
Parameters SPL CM
Specifications of SPL CM connected to M7 helium distribution:
SPL valve box supplies helium at max. 1.5 bara for the cavity and shield circuit.

## Slide 6
M7 PID

## Slide 7
Summary
Accomplished tasks:
Commissioning of the new cryogenic infrastructure in SM18 RF test area.
Functional specification of the helium distribution system incl. PID.
Definition of the safety device equipment of the transfer line.
Open tasks:
Start cryogenic operation of vertical test stands V5 and V3.
Cryogenic performance measurement of the new transfer line.
Define the interconnection to clients in the horizontal test stands (SPL, Hie-Isolde, Crab, LHC).
Integration study for cryogenics in the horizontal bunkers.

## Slide 8
Thank you for your attention

## Slide 9
SM18 RF TL performance