## Slide 1: Embedded and application software stacks
Jeong Han Lee
Integrated Control System Division
www.europeanspallationsource.se
2017-04-06

## Slide 2: MTCA Software Stacks / 2017.04

## Slide 3: MTCA Software Stacks / Plan

## Slide 4: MTCA Systems Monitoring / Plan
Slow > 1 Hz
Read Only (very limited Write)
Most PDUs support SNMP
MTCA MCH supports
  RCMP (IPMI)
  SNMP
EPICS modules
  ipmiComm (SLAC)
  devSNMP (FRIB)
  snmpLib (RAON)
Existent Open Source Tools
  ZABBIX
  ICINGA
MTCA Infrastructure Monitoring System