## Slide 1: WP11: CDS-SL CDR Cryogenics
April 19th 2017

## Slide 2: Outline
Cryogenic and warm control valves sizing
  Control valves sizing
  Valve box
    Thermal shield circuit
    Cold mass circuit
  End box
    Thermal shield circuit
    Cold mass circuit
  Control valves properties
Auxiliary lines pressure drops
Cryogenic circuits pressure drops
  Thermal shield circuit
    Valve box
    Main cold process lines
  Helium circuit
    Valve box
    Main cold process lines

## Slide 3: Valves sizing – Overview 1/2
Control valves
Warm control valve
Cryogenic control valve
Positioner

## Slide 4: Valves sizing – Overview 2/2
Control valves
  For each valve, we calculate for flow control:
  A minimum Kv value
    Lowest mass flow rate, liquid or cold vapors
    or requirements
  A maximum Kv value
    Highest mass flow rate, liquid or warm gas
    or requirements
High sensitivity
Then we determine the operating points
of the valve and we draw the valve curve.

## Slide 5: Valve box
Thermal shield circuit – CV60
Max Kv

## Slide 6: Valve box
Thermal shield circuit – CV61
Max Kv

## Slide 7: Valve box
Thermal shield circuit – CV62
Max Kv

## Slide 8: Valve box
Thermal shield circuit – CV63
Max Kv

## Slide 9: Valve box
Helium circuit – CV01
Max Kv

## Slide 10: Valve box
Helium circuit – CV02
Max Kv

## Slide 11: Valve box
Helium circuit – CV03
Max Kv

## Slide 12: Valve box
Helium circuit – CV04
Max Kv

## Slide 13: Valve box
Helium circuit – CV05
Max Kv

## Slide 14: Valve box
Helium circuit – CV06
Max Kv

## Slide 15: Valve box
Helium circuit – CV07
Max Kv

## Slide 16: End box
Thermal shield circuit – CV93
Max Kv

## Slide 17: End box
Helium circuit – CV91
Max Kv

## Slide 18: End box
Helium circuit – CV92
Max Kv

## Slide 19: End box
HP line – CV94
Max Kv

## Slide 20: Valves sizing - Overview
Cryogenic control valves properties – Valve box

## Slide 21: Valves sizing - Overview
Cryogenic control valves properties – End box

## Slide 22: Valves sizing - Overview
Warm control valves properties – Valve box and End box

## Slide 23: Pressure drops
Auxiliary pressure lines
  Regular pressure drops in a smooth pipe
Branch and side lines
  Regular pressure drops in a smooth pipe
  Singular pressure drops:
  Stream direction change
  Sudden velocity variation
Main cold process lines
  Regular pressure drops in a smooth pipe
  Singular pressure drops:
  Stream direction change
  Sudden velocity variation
  Flow divisions and junctions
Circuits are divided into several elements:
straight section, elbow, T, valves, HX…
Singular pressure drop coefficients extracted from

## Slide 24: Auxiliary lines
Regular pressure drops
60m
Thermo-physical properties of the fluid are considered constant along the line
ΔP
Requirements

## Slide 25: Thermal shield
VB - Thermal shield circuit – TS supply branch line (BE)
ΔP
=1.32 g/s, T=40 K
TS supply branch line pressure drop  ≈1.5 mbara

## Slide 26: Thermal shield
Thermal shield circuit – TS supply side line (SE+BE)
ΔP
=2.73 g/s, T=300 K
TS supply side line pressure drop  ≈300 mbara

## Slide 27: Thermal shield
Thermal shield circuit – TS return branch line (BF)
=1.32 g/s, T=55 K
TS return branch line pressure drop  ≈4.2 mbara
ΔP

## Slide 28: Thermal shield
Thermal shield circuit – TS return side line (BF+SF2)
=2.73 g/s, T=300 K
TS return branch line pressure drop  ≈1150 mbara
ΔP

## Slide 29: Thermal shield
Main cold process lines
CDS-EL / CDS-SL interface
End box
VB01
VB02
VB13
ΔP
CDS-EL / CDS-SL interface
End box
VB01
VB02
VB13
ΔP
T (K) | 40
(g/s) | 20.1
(g/s) | 1.32
(g/s) | 2.9
T (K) | 40
 | 20.1
 | 1.32
 | 2.9

## Slide 30: Thermal shield
Main TS supply line
≈2.2mbara

## Slide 31: Thermal shield
Main TS return line
≈3mbara

## Slide 32: He circuit
VB – Helium circuit – He cool down line (BC)
ΔP
=2.8 g/s, T=5.5 K
He cool down line pressure drop  ≈1506 mbara
=2.8 g/s, T=300 K
He cool down line pressure drop  ≈1526 mbara

## Slide 33: He circuit
VB – Helium circuit – He supply side line (SC1+BC)
ΔP
=2.8 g/s, T=300 K
He supply side line pressure drop  ≈1800 mbara

## Slide 34: He circuit
VB – Helium circuit – He JT line
ΔP
=1.14 g/s, T=5.5 - 2 K
He JT line pressure drop  ≈2969 mbara

## Slide 35: He circuit
VB – Helium circuit – He couplers supply line
ΔP
=0.16 g/s, T=5.5 K
He couplers supply line pressure drop  ≈0 mbara
=0.16 g/s, T=300 K
He couplers supply line pressure drop  ≈0.4 mbara

## Slide 36: He circuit
VB – Helium circuit – Magnetic shield supply line
ΔP
=0.53 g/s, T=5.5 K
Magnetic shield supply line pressure drop  ≈1800 mbara
=0.53 g/s, T=300 K
Magnetic shield supply line pressure drop  ≈1810 mbara

## Slide 37: He circuit
VB – Helium circuit – Very low pressure branch line (BB)
ΔP
=1.32 g/s, T=40 K
Very low pressure branch line pressure drop  ≈1.4 mbara

## Slide 38: He circuit
VB – Helium circuit – Very low pressure side line (BB+SB)
=2.80 g/s, T=5 K
Very low pressure side line pressure drop  ≈1.7 mbara
=2.80 g/s, T=300 K
Very low pressure side line pressure drop  ≈56 mbara
ΔP

## Slide 39: He circuit
VB – Helium circuit – Magnetic shield return line
=0.53 g/s, T=5.5 K
Magnetic shield return line pressure drop  ≈0.1 mbara
=0.53 g/s, T=300 K
Magnetic shield return line pressure drop  ≈7.1 mbara
ΔP

## Slide 40: He circuit
Main cold process lines
CDS-EL / CDS-SL interface
End box
VB01
VB02
VB13
ΔP
CDS-EL / CDS-SL interface
End box
VB01
VB02
VB13
ΔP
T (K) | 5.5
(g/s) | 27.1
(g/s) | 1.14
(g/s) | 12.3
T (K) | 5.5
 | 27.1
 | 1.14
 | 12.3
T (K) | 5.5
(g/s) | 27.1
(g/s) | 1
(g/s) | 12.3
T (K) | 5.5
 | 27.1
 | 1
 | 12.3

## Slide 41: He circuit
Main He supply line
≈0.35mbara

## Slide 42: He circuit
VLP return line
≈0.3mbara

## Slide 43: Pressure drops
Results

## Slide 44: Thank you for your attention
CSP12
28 Novembre 2014