## Slide 1
Mark Heron
Head of Controls Group
Diamond Light Source
EPICS at Diamond

## Slide 3: Current Diamond Control System (1)
EPICS: 3.14.12
  PVs: Acc. 862,050, Beamlines 2,376,386
  IOCs: Acc. 363, Beamlines 1017
  Channel Archiver: 52 Archives, 256,839 PVs, 35TB
  EDM: ~7000 panels
  Gateways: ~40
  Hardware: 467 VME, 56 x86 ~240 ARM, ?? Soft
Extensions: asyn, Area Detector, Motor Record, Streams, ….
Clients: EDM, CSS, BURT, ALH, Channel Archiver, ….
Client Libs: C++, Python, GDA (Java), MML (Matlab), .Net, ….

## Slide 4: Current Diamond Control System (2)
EPICS V4
  Detector integration
  Malcolm a middlelayer framework that implements high level configure/run behaviour for continuous scan

## Slide 5: Future Diamond Control System (1)
EPICS 7
  Migration path
  PVA Gateway, PVA Archiver, PVA DM
    Moving to EDM to CSS, CA to AA
  PVA WebDM
  Services to eg Malcolm uses EPICS V4
  PVA Client libraries Python, Java, .Net
    Blessed
  Area Detector NTNDArray
    Mark Rivers is planning IOC
  CA-to-PVA Gateway
  Training material and documentation

## Slide 6: Future Diamond Control System (2)
IOCs
  Dynamically create/delete records
  Introspect to define PVs that make up a “Device”
  Refresh Records
    Motor Record behaviour
Python IOCs
Build EPICS support modules in a more ‘standard’ fashion ie ./configure
  Removes edit of configure/* files
  Supports use of Continuous Integration services
Stability of code base and releases

## Slide 7: Diamond’s Commitment
Historically Diamond has had at least 1FTE on working on EPICS Core
  Was David Hickin now with European XFEL
Other developments and contribution
  CSS, CAtools, Area Detector, Various Device Support, Ethercat, ….
Diamond very willing to contribute
  Needs to be against a plan for EPICS
  We need to show organisational benefit
See EPICS council as important in defining future direction

## Slide 8
Thank you
Questions