## Slide 1: ORBIT CONTORL AT COSY
EPICS Implementation example
jan.malec@cosylab.com

## Slide 2: Intro
About COSY
Orbit correction based on ORM
Implementation at COSY
Results and conclusions

## Slide 3: COSY (FZJ)
Cooler Synchrotron
Forschungszentrum Jülich
Polarized and non polarized beams
Beam cooling
Internal or external target
Preparations for EDM measurements

## Slide 4: Orbit control based on ORM
ORM – Orbit Response Matrix
m x n for m bpms and n steerers
Describes how steerer changes affect BPM measurements
– beam position delta, – ORM, – steerer settings

## Slide 5: Orbit control based on ORM
We would like for desired
R usually not invertible
SVD decomposition -> pseudo inverse
Find optimal

## Slide 6: ORM and Bump Creation
Measured ORM empirically
Model -> ORM with a python script
Data from MAD-> bump creation
Bump creation confirms that model is realistic

## Slide 7: COSY Control System
Custom CPU with Motorola processors
Ethernet based timing on 10 Megabit non switched network
Non distributed
Tcl/Tk GUIs, TCP

## Slide 8: Control system design

## Slide 9: COSY cycle operation

## Slide 10: COSY cycle operation + OC

## Slide 11: Full orbit correction state machine

## Slide 12: Orbit correction GUI

## Slide 13: Creation of a vertical bump

## Slide 14: Correcting a vertical bump

## Slide 15: Correction to zero over multiple cycles

## Slide 16: Solving possible bottlenecks

## Slide 17: Conclusions
COSY is an interesting machine with a great team
Implemented orbit correction in EPICS with virtually no hardware changes and minimal downtime
Introduced distributed ACS
Really interesting project

## Slide 18: Thank you!
Jan Malec
COSYLAB
Tel.: +386 40 671 246
Web: www.cosylab.com