## Slide 1: Present Status of Instruments at ESS
Ken Andersen, Neutron Instruments Division, European Spallation Source ERIC
ESS-JPARC workshop,
Lund, 19th January 2018

## Slide 2: Long-pulse performance
4
8
time (ms)
Brightness (n/cm2/s/sr/Å)
7
5
x1014
ISIS TS1
128 kW
ISIS TS2
32 kW
SNS
1-2 MW
JPARC
0.3-1 MW
ILL 57 MW
ESS 5 MW
2015 design
0
1
2
3
3
4
1
2
6
λ = 1.5 Å

## Slide 3: Long-pulse performance
4
time (ms)
Brightness (n/cm2/s/sr/Å)
x1013
ISIS TS1
128 kW
ISIS TS2
32 kW
SNS
1-2 MW
JPARC
0.3-1 MW
ILL 57 MW
ESS 5 MW
2015 design
0
1
2
3
15
5
10
λ = 5 Å

## Slide 4: ESS Moderator Design: Butterfly
4
Above target:
3cm tall butterfly
moderator assembly
Below target:
space for future upgrade
20cm

## Slide 5: ESS Moderator Design: Butterfly
water
para-H2
Fully coupled moderators
  No compromise
  Time structure determined mainly by proton pulse length
Hydrogen for cold spectrum
Water for thermal spectrum
All beamports can view both
5
Above target:
3cm tall butterfly
moderator assembly
Below target:
space for future upgrade
20cm

## Slide 6: ESS Moderator Design: Butterfly
water
para-H2
Fully coupled moderators
  No compromise
  Time structure determined mainly by proton pulse length
Hydrogen for cold spectrum
Water for thermal spectrum
All beamports can view both
Above target:
3cm tall butterfly
moderator assembly
Below target:
space for future upgrade
beamport axes

## Slide 7: ESS Moderator Design: Butterfly
water
para-H2
Fully coupled moderators
  No compromise
  Time structure determined mainly by proton pulse length
Hydrogen for cold spectrum
Water for thermal spectrum
All beamports can view both
Above target:
3cm tall butterfly
moderator assembly
Below target:
space for future upgrade
thermal
cold

## Slide 8: ESS Moderator Design: Butterfly
water
para-H2
Fully coupled moderators
  No compromise
  Time structure determined mainly by proton pulse length
Hydrogen for cold spectrum
Water for thermal spectrum
All beamports can view both
Above target:
3cm tall butterfly
moderator assembly
Below target:
space for future upgrade

## Slide 9: Adapting the pulse width
0
100μs
200μs
0
3 ms
Intensity
Intensity
Short-Pulse Source
- set pulse width by choosing moderator
ESS
- set pulse width using pulse-shaping chopper
coupled
decoupled
poisoned

## Slide 10: Impact on bandwidth of pulse-shaping chopper

## Slide 11: Impact on bandwidth of pulse-shaping chopper
T/𝜏 = 25 ⟹ L2/L1 = 25

## Slide 12: Impact on bandwidth of pulse-shaping chopper
T/𝜏 = 25 ⟹ L2/L1 = 25
L1 = 6.3 m ⟹ L2 = 157.5 m

## Slide 13: Impact on bandwidth of pulse-shaping chopper
T/𝜏 = 25 ⟹ L2/L1 = 25
L1 = 6.3 m ⟹ L2 = 157.5 m
⟹ Dl = 1.8 Å

## Slide 14: Impact on bandwidth of pulse-shaping chopper
water
hydrogen

## Slide 15: Impact on bandwidth of pulse-shaping chopper
water
hydrogen

## Slide 16: Impact on bandwidth of pulse-shaping chopper
water
hydrogen

## Slide 17: Impact on bandwidth of pulse-shaping chopper
water
hydrogen

## Slide 18: Hall Layout
West
North
East
South
West
North
East
South
165 m

## Slide 19: Hall Layout
West
North
East
South
West
North
East
South
0
100 m
200 m
300 m
400 m
scale
Hall 1
Hall 2
ESS
J-PARC MLF
West
East
ISIS-TS2

## Slide 20: Hall Layout
West
North
East
South
West
North
East
South
0
100 m
200 m
300 m
400 m
scale
ESS
similar length
instruments
longer
instruments
much longer
instruments
Hall 1
Hall 2
J-PARC MLF
West
East
ISIS-TS2

## Slide 21: Beamport separation
ESS: 42 beamports
J-PARC: 23 beamports

## Slide 22: Beamport separation
ESS: 42 beamports
J-PARC: 23 beamports
short
short/medium
medium
long

## Slide 23: Beamport separation
ESS: 42 beamports
J-PARC: 23 beamports
short
short/medium
medium/long
long

## Slide 24: Upgradeability
West
North
East
South
West
scale
T-REX
SKADI
ESTIA
HEIMDAL
LOKI
FREIA
VESPA
MAGIC
BIFROST
BEER
MIRACLES
C-SPEC
NMX
ODIN
DREAM
GI-SANS
TBL
Primary upgrade path: more instruments
42 beamports with ~6° separation

## Slide 25: Upgradeability
West
North
East
South
West
scale
upgrade
T-REX
SKADI
ESTIA
HEIMDAL
LOKI
FREIA
VESPA
MAGIC
BIFROST
BEER
MIRACLES
C-SPEC
NMX
ODIN
DREAM
TBL
upgrade
Primary upgrade path: more instruments
42 beamports with ~6° separation
Upgrade areas

## Slide 26: Upgradeability
West
North
East
South
West
scale
upgrade
upgrade
HR-NSE
T-REX
ANNI
SKADI
ESTIA
HEIMDAL
LOKI
FREIA
WA-NSE
Mono-farm 1
VOR
VESPA
MAGIC
BIFROST
BEER
MIRACLES
C-SPEC
NMX
ODIN
DREAM
ESPRESSO
Sleipnir
n-nbar
GI-SANS
W9
W10
S5
S6
S7
S8
S9
S10
Mono-farm 2
Primary upgrade path: more instruments
42 beamports with ~6° separation
Upgrade areas

## Slide 27: ESS Advantages
Rapid data collection = short counting times
  enables kinetics & high-throughput studies
Can choose to sacrifice flux for other opportunities
  high resolution, polarisation analysis, …
Broad dynamic range in Q and E
  hierarchical structures
  survey measurements
Small beam spots
  scanning, biological and complex samples
Inherently flexible instruments
  adapt resolution to experimental needs
Integrated flexible sample environment
  non-equilibrium studies

## Slide 28: Built by In-Kind Collaborations
National Centre for Nuclear Research, Poland
Oslo University
Rostock University
Spallation Neutron Source, Oak Ridge
Stockholm University
Techical University of Darmstadt
Nuclear Physics Institute Of The ASCR
Czech Technical University, Prague
Aarhus University
University Of Copenhagen
University Of Southern Danmark
Technical University Of Danmark - DTU
Institut Laue-Langevin - ILL
LLB (Laboratoire Léon Brillouin)
Helmholtz-Zentrum, Berlin
Helmholtz-Zentrum, Geesthacht
Technical University, Munich
Forschungszentrum, Jülich
Elettra-Sincrotrone Trieste
Università Di Perugia
Consiglio Nazionale Delle Ricerche
Delft University Of Technology
Institute For Energy Technology, IFE
Linköping University
Mid Sweden University
Epfl | École Polytechnique Fédérale De Lausanne
Paul Scherrer Institute, PSI
Aarhus University
CEA Saclay, Paris
CNRS Orsay, Paris
ESS Bilbao
INFN, Catania
Lund University
Uppsala University
Accelerator Science and Technology Centre, Daresbury and Oxford
CERN, Geneva
Cockcroft Institute, Daresbury
DESY, Hamburg
ESS Bilbao
Fermi National Laboratory, Chicago
John Adams Institute for Accelerator Science, London and Oxford
Laval University, Canada
Maribor University, Slovenia

## Slide 29: Instrument Proposal Rounds
 | LOKI |  | NMX |  |  | ODIN |  |  |  | 
 | Sleipnir |  |  |  |  |  |  |  |  | 
SANS
Reflectometry
Macromolecular
& Single Crystal
Diffraction
Powder
Diffraction
Materials &
Engineering
Diffraction
Imaging
Direct Geometry
Spectroscopy
Indirect Geometry
Spectroscopy
Spin Echo
Spectroscopy
Fundamental &
Particle Physics
✔
✔
✔
2012

## Slide 30: Instrument Proposal Rounds
 | LOKI |  | NMX |  |  | ODIN |  |  |  | 
 | Sleipnir |  |  |  |  |  |  |  |  | 
 | Sleipnir | THOR |  | DREAM | BEER |  | C-SPEC | BIFROST | ESSENSE | 
 | SKADI | VERITAS |  | HEIMDAL |  |  | VOR |  |  | 
 |  | ESTIA |  | HOD |  |  | T-REX |  |  | 
 |  | FREIA |  |  |  |  | Tempus Fugit |  |  | 
SANS
Reflectometry
Macromolecular
& Single Crystal
Diffraction
Powder
Diffraction
Materials &
Engineering
Diffraction
Imaging
Direct Geometry
Spectroscopy
Indirect Geometry
Spectroscopy
Spin Echo
Spectroscopy
Fundamental &
Particle Physics
2013
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
2012

## Slide 31: Instrument Proposal Rounds
 | LOKI |  | NMX |  |  | ODIN |  |  |  | 
 | Sleipnir |  |  |  |  |  |  |  |  | 
 | Sleipnir | THOR |  | DREAM | BEER |  | C-SPEC | BIFROST | ESSENSE | 
 | SKADI | VERITAS |  | HEIMDAL |  |  | VOR |  |  | 
 |  | ESTIA |  | HOD |  |  | T-REX |  |  | 
 |  | FREIA |  |  |  |  | Tempus Fugit |  |  | 
 |  | HERITAGE | MAGIC | HOD |  |  | T-REX | MIRACLES | ESSENSE | ANNI
 |  |  |  | ESPRESSO |  |  |  | VESPA | RESPECT | UCN
SANS
Reflectometry
Macromolecular
& Single Crystal
Diffraction
Powder
Diffraction
Materials &
Engineering
Diffraction
Imaging
Direct Geometry
Spectroscopy
Indirect Geometry
Spectroscopy
Spin Echo
Spectroscopy
Fundamental &
Particle Physics
2013
2014
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
2012
✔
✔
✔
✔

## Slide 32: Instrument Proposal Rounds
 | LOKI |  | NMX |  |  | ODIN |  |  |  | 
 | Sleipnir |  |  |  |  |  |  |  |  | 
 | Sleipnir | THOR |  | DREAM | BEER |  | C-SPEC | BIFROST | ESSENSE | 
 | SKADI | VERITAS |  | HEIMDAL |  |  | VOR |  |  | 
 |  | ESTIA |  | HOD |  |  | T-REX |  |  | 
 |  | FREIA |  |  |  |  | Tempus Fugit |  |  | 
 |  | HERITAGE | MAGIC | HOD |  |  | T-REX | MIRACLES | ESSENSE | ANNI
 |  |  |  | ESPRESSO |  |  |  | VESPA | RESPECT | UCN
SANS
Reflectometry
Macromolecular
& Single Crystal
Diffraction
Powder
Diffraction
Materials &
Engineering
Diffraction
Imaging
Direct Geometry
Spectroscopy
Indirect Geometry
Spectroscopy
Spin Echo
Spectroscopy
Fundamental &
Particle Physics
2013
2014
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
2012
Scientific and Technical Advisory Panels (STAPs)
✔
✔
✔
✔

## Slide 33: Instrument Proposal Rounds
 | LOKI |  | NMX |  |  | ODIN |  |  |  | 
 | Sleipnir |  |  |  |  |  |  |  |  | 
 | Sleipnir | THOR |  | DREAM | BEER |  | C-SPEC | BIFROST | ESSENSE | 
 | SKADI | VERITAS |  | HEIMDAL |  |  | VOR |  |  | 
 |  | ESTIA |  | HOD |  |  | T-REX |  |  | 
 |  | FREIA |  |  |  |  | Tempus Fugit |  |  | 
 |  | HERITAGE | MAGIC | HOD |  |  | T-REX | MIRACLES | ESSENSE | ANNI
 |  |  |  | ESPRESSO |  |  |  | VESPA | RESPECT | UCN
SANS
Reflectometry
Macromolecular
& Single Crystal
Diffraction
Powder
Diffraction
Materials &
Engineering
Diffraction
Imaging
Direct Geometry
Spectroscopy
Indirect Geometry
Spectroscopy
Spin Echo
Spectroscopy
Fundamental &
Particle Physics
2013
2014
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
✔
2012
Scientific and Technical Advisory Panels (STAPs)
✔
✔
✔
✔
Scientific Advisory Committee (SAC)

## Slide 34: Instrument Suite
DREAM
NMX
T-REX
MAGIC
HEIMDAL
SKADI
VESPA
FREIA
ESTIA
ODIN
BEER
CSPEC
BIFROST
MIRACLES
SANS | LOKI, SKADI
Reflectometry | ESTIA, FREIA
Powder Diffraction | DREAM, HEIMDAL
Single-Crystal Diffraction | MAGIC, NMX
Imaging & Engineering | ODIN, BEER
Direct-Geometry Spectroscopy | CSPEC, T-REX
Indirect-Geometry Spectroscopy | BIFROST, MIRACLES, VESPA
LoKI

## Slide 35: Thank you!
5th June 2015
ESS site 2016

## Slide 36: Backup slides

## Slide 37: ESS Moderator Design: Butterfly
37
Above target:
3cm tall butterfly
moderator assembly
Below target:
space for future upgrade
20cm

## Slide 38: ESS Moderator Design: Butterfly
38
Above target:
3cm tall butterfly
moderator assembly
Below target:
space for future upgrade
20cm
guide
moderator

## Slide 39: ESS Moderator Design: Butterfly
39
Above target:
3cm tall butterfly
moderator assembly
Below target:
space for future upgrade
20cm
guide
moderator

## Slide 40: TDR Reference Suite 2013
Multi-Purpose Imaging | 
General-Purpose SANS | 
Broadband SANS | 
Surface Scattering | 
Horizontal Reflectometer | 
Vertical Reflectometer | 
Thermal Powder Diffractometer | 
Bispectral Power Diffractometer | 
Monochromatic Powder Diffractometer | 
Materials Science Diffractometer | 
Extreme Conditions Diffractometer | 
Single-Crystal Magnetism Diffractometer | 
Macromolecular Diffractometer | 
Cold Chopper Spectrometer | 
Bispectral Chopper Spectrometer | 
Thermal Chopper Spectrometer | 
Cold Crystal-Analyser Spectrometer | 
Vibrational Spectroscopy | 
Backscattering Spectrometer | 
High-Resolution Spin-Echo | 
Wide-Angle Spin-Echo | 
Fundamental & Particle Physics | 
Large-Scale Structures
Diffraction
Spectroscopy
life sciences | magnetism & superconductivity
soft condensed matter | engineering & geo-sciences
chemistry of materials | archeology & heritage conservation
energy research | fundamental & particle physics

## Slide 41: Instrument Selection 2010-14
Conventional SANS
Small-Sample SANS
Compact SANS
Broadband SANS
Liquids Reflectometer
Magnetism Reflectometer
Vertical Focusing Reflectometer
Horizontal Focusing Reflectometer
Fast Kinetics Liquids Reflectometer
Macromolecular Diffractometer
Cold Magnetism Single-Crystal Diffractometer
Thermal Magnetism Single-Crystal Diffractometer
Bispectral Powder Diffractometer
Extreme Environments Beamline
High-Pressure Diffractometer
Hybrid Multiscale Diffractometer
Thermal Powder Diffractometer
Pulsed Monochromatic Diffractometer
Multiplexing Engineering Diffractometer
In-Situ Engineering Diffractometer
High Flexibility Engineering Diffractometer
Cold Chopper Spectrometer
Bispectral Chopper Spectrometer
Thermal Chopper Spectrometer
Broadband Chopper Spectrometer
Crystal Monochromator Spectrometer
Crystal-Analyser Spectrometer
Backscattering Spectrometer
Vibrational Spectrometer
High-Resolution Spin-Echo
Wide-Angle Spin-Echo
Longitudinal Resonance Spin-Echo
Fast Kinetics Imaging
High-Resolution Imaging
Multi-Purpose Imaging
Fundamental Physics Beamline
Ultra-Cold Neutron Facility
Chip Irradiation Facility
Neutron-AntiNeutron Oscillations
Large-Scale Structures
Diffraction
Spectroscopy
Imaging
FP
39 instrument concepts studied + 8 add-ons

## Slide 42: Instrument Selection 2010-14
Conventional SANS
Small-Sample SANS
Compact SANS
Broadband SANS
Liquids Reflectometer
Magnetism Reflectometer
Vertical Focusing Reflectometer
Horizontal Focusing Reflectometer
Fast Kinetics Liquids Reflectometer
Macromolecular Diffractometer
Cold Magnetism Single-Crystal Diffractometer
Thermal Magnetism Single-Crystal Diffractometer
Bispectral Powder Diffractometer
Extreme Environments Beamline
High-Pressure Diffractometer
Hybrid Multiscale Diffractometer
Thermal Powder Diffractometer
Pulsed Monochromatic Diffractometer
Multiplexing Engineering Diffractometer
In-Situ Engineering Diffractometer
High Flexibility Engineering Diffractometer
Cold Chopper Spectrometer
Bispectral Chopper Spectrometer
Thermal Chopper Spectrometer
Broadband Chopper Spectrometer
Crystal Monochromator Spectrometer
Crystal-Analyser Spectrometer
Backscattering Spectrometer
Vibrational Spectrometer
High-Resolution Spin-Echo
Wide-Angle Spin-Echo
Longitudinal Resonance Spin-Echo
Fast Kinetics Imaging
High-Resolution Imaging
Multi-Purpose Imaging
Fundamental Physics Beamline
Ultra-Cold Neutron Facility
Chip Irradiation Facility
Neutron-AntiNeutron Oscillations
Large-Scale Structures
Diffraction
Spectroscopy
Imaging
FP
39 instrument concepts studied + 8 add-ons
proposal 2013 .
proposal 2012&13 .
proposal 2012 .
proposal 2013 .
proposal 2013&14 .
proposal 2013 .
proposal 2013 .
proposal 2012 .
proposal 2014 .
proposal 2013 .
proposal 2014 .
proposal 2013 .
proposal 2014 .
proposal 2013 .
✓
✗
✓
✗
✗
✓
✓
✓
✓
✓
✗
✓
✗
✓
proposal 2013 .
proposal 2013&14 .
proposal 2013 .
proposal 2013 .
proposal 2013 .
proposal 2014 .
proposal 2014 .
proposal 2013&14 .
proposal 2014 .
proposal 2012 .
proposal 2014 .
proposal 2014 .
✓
✓
✓
✗
✓
✓
✓
✗
✗
✓
✗
✗

## Slide 43: 15 Instruments selected so far 8 to be in user operation by 2023
ODIN Imaging Instrument
SKADI General Purpose SANS
LOKI Broadband SANS
Surface Scattering
FREIA Horizontal Reflectom.
ESTIA Vertical Reflectom.
HEIMDAL Powder Diffract.
DREAM Powder Diffract.
Monochromatic Powder Diffract.
BEER Engineering Diffract.
Extreme Conditions Diffract.
MAGIC Magnetism Diffract.
NMX Macromolecular Diffract.
CSPEC Cold Chopper Spec.
Broadband Spectrometer
T-REX Thermal Chopper Spec.
BIFROST Xtal Analyser Spec.
VESPA Vibrational Spec.
MIRACLES Backscatt. Spec.
High-Resolution Spin-Echo
Wide-Angle Spin-Echo
Particle Physics Instrument
Large-Scale Structures
Diffraction
Spectroscopy
life sciences | magnetism & superconductivity
soft condensed matter | engineering & geo-sciences
chemistry of materials | archeology & heritage conservation
energy research | particle physics
Version 2/11/2017

## Slide 44: Tentative Instrument Ramp-up
Instrument | 2014 | 2015 | 2016 | 2017 | 2018 | 2019 | 2020 | 2021 | 2022 | 2023 | 2024 | 2025 | 2026 | 2027 | 2028 | 2029 | 2030
LOKI |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
ODIN |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
NMX |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
ESTIA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
CSPEC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
DREAM |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
SKADI |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
BEER |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
BIFROST |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
MAGIC |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
T-REX |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
HEIMDAL |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
MIRACLES |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
VESPA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
FREIA |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Instrument 16 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Instrument 17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Instrument 18 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Instrument 19 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Instrument 20 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Instrument 21 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Instrument 22 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  | 
Hot Commissioning
Construction Project
User Programme
50 75 100%
Version 17/11/2017, based on Instrument Construction Working Schedule V3.4
1MW
2MW
3MW
4MW
5MW

## Slide 45: Internal* Neutron Beam Instrument Schedule Draft for Discussion V3.4, 15th September 2017
NOTES:
Assumes 2MW maximum power until end 2025
Phases aligned with TG2 reviews on 1st 10 NBIs
Installation & Integration (TG4) + Hot Commissioning (TG5) for first 8 NBIs aligned with draft BOI plan (schedule match typically within 1 month)
Preliminary Design
Detailed Design
Manufacturing & Procurement
Installation & Integration
Hot Commissioning/Early science
Operation
Hot Commission
instruments
2016 2017 2018 2019 2020 2021 2022 2023 2024 2025
West sector
North sector
East and South sectors
Current date
First access to NSS areas
Start User Program
Beam on Target
* still under discussion with ESS-ERIC Council
Current
date
Notes: This schedule assumes
  obtaining the radiological licenses in a timely fashion from SSM. A trigger ‘first optical instrument component outside the monolith’ and a 6 months period from submission of the application to obtaining the SSM license - have been assumed (pending formal confirmation from ESH).
  an initial hot commissioning of Accelerator and Target (A&T) to establish reliable beam on target at design frequency and pulse width.
In 2021, commissioning of the first (4-5) neutron instruments is to be conducted at low power, where possible, in order to minimize activation of in-bunker components of the neutron instruments. In the current plan, the duration of this initial commissioning period is 10-12 weeks.
Over 2022 and 2023 beam power and availability will increase, as the first 8 or more neutron instruments start hot commissioning, with a goal of reaching 2 MW source power by the start of the user program and maintaining that level until 2026.
Commencement of hot commissioning for the first 8 neutron instruments (TG5 in Table 1) is closely aligned with the schedules presented by those instrument build teams at TG2. This order matches well with the NSS “Early Science Success” strategy, and distributes responsibility for delivery widely among our experienced In-Kind partners. Changes to this order will be made if necessary to mitigate effects of delays to individual neutron instrument projects.
TG5 dates for neutron instruments 9-15 will be delayed to concentrate on-site resources for installation and commissioning (both cold commission and hot commissioning) on the first eight instruments to facilitate early science success for those instruments. This is discussed further below and illustrated in the NSS Installation and Commissioning schedule (Fig. 3).
TG3 dates refer to “final” approval of detailed design, when the integrated design of all major components is judged to be complete, and beyond which no further approval from NSS management is required for manufacturing. At this point in time these TG3 dates are not fixed, but NSS management plans for this to occur in staged manner. “Early procurement” approval dates for in-monolith optics and other critical path procurements (such as in-bunker components for the first instruments) are not shown in the figure

## Slide 46: Instrument Performance & Upgrades
Instrument Class | Instrument | Costbook (M€) | Upgrade (M€) | Performance target at Cost book value (@ 2MW)
Large Scale Structures | LOKI (Broad band SANS) | 12.19 | 3.0 | 5 x D22 & 20 x SANS2D
 | SKADI (General Purpose SANS) (+SONDE funds) | 11.50 | 3.0 | 4 x D22
 | ESTIA (Focusing Reflectometer) | 11.80 | 4.6 | Conventional mode: ~ 100 x D17 High intensity mode: 1cm2 samples = seconds
 | FREIA (Liquids Reflectometer) | 13.20 | 5.0 | 30 x FIGARO, INTER
Diffraction | DREAM (Bispectral powder diffractometer) | 13.66 | 5.1 | > 10 x POWGEN or WISH
 | HEIMDAL (Hybrid diffractometer) | 13.55 | 3.7 | ~ 50 x GEM, ~ 8 x new POLARIS
 | MAGIC (magnetism single crystal diffractometer) | 13.10 | 1.9 | Cold: > 100 x world’s best, Thermal: 1mm3 crystals = 10 min
 | NMX (Macromolecular crystallography) | 11.67 | 2.5 | > 10 x LADI & Biodiff
Engineering & Industrial | BEER (Engineering diffractometer) | 14.99 | 9.3 | world leading in strain scanning, unique flexibility
 | ODIN (multi-purpose imaging) | 11.60 | 5.8 | world leading for high resolution, > 10 x best for TOF methods
Spectroscopy | BIFROST (extreme environment spectrometer) | 13.45 | 2.4 | > 10 x THALES & MACS
 | C-SPEC (cold chopper spectrometer) | 16.50 | 2.4 | 2 - 6 x IN5
 | T-REX (bispectral chopper spectrometer) | 16.85 | 3.1 | 3 x 4-SEASONS, 3 x IN5
 | VESPA (vibrational spectroscopy) | 12.00 | 2.9 | 10 x VISION (ΔE = 130 meV)
 | MIRACLES (backscattering spectrometer) | 13.53 | 1.7 | 2 x BASIS and DNA
 | Total cost book value | 199.59 | 56.4 | M€