## Slide 1: H09 Architectural & Structural Preliminary Design
Frank Kezerle
H09 Waste treatment facility - Baseline Agreement
www.europeanspallationsource.se
5 February, 2018

## Slide 2: INTERFACING DISCIPLINES & STAKEHOLDERS
FIRE
ACOUSTICS
ACCESS & SECURITY
SAFTEY
LOGISTICS INTERFACE WITH CIVIL
HVAC INT. functional space
ELECTRICITY INT. functional space
PROCESS INT. functional space

## Slide 3: REQUIREMENTS: Cf and Stakeholder
Architectural and Structural requirements are listed in ESS-0082503 DM--SR-TBSIDDH09-System Requirements H09 Structure.

## Slide 4: System Descriptions Architectural H09
System Description H09 structure is a description and rationale of the expected operations of the H09 structure from an architecturally functional point of view.
It is a platform for stakeholder consensus to ensure that the system that is built is operationally feasible.
This is a sub document of the System Description H09 Waste treatment facility
[1]. All system requirements and conditions on H09 Structure are listed in the requirement document
[2]. It is part of the technical baseline for the detailed design.

## Slide 5: TECHNICAL BASELINE STRUCTURAL H09
Compilation of structural preliminary drawings based on all known requirements

## Slide 6: Basis of Structural Design H09
Presents the basis of design for the structure of the H09 Waste Building as part of the larger ESS project,
Present the applicable loads acting on the structures,
Load case combinations, analysis methodology,
Requirements for the structure and design principles,
This document should be read together with both Architectural and Structural drawings of the building.

## Slide 7: Procedure of CF quality and review

## Slide 8: LINKING REQUIREMENTS TO RESULTS
The Verification & Validation Protocol shall provide the link between All Stakeholder Requirements - BLT (PD) - CF Design (DD) - SEC (Construction) & Approval (Final Inspection/ Fulfilment of requirements).
This document shall be part of the design verification process (review protocols) and the construction documents providing input into the ITP (inspection test plan) and MS (method statement).

## Slide 9: H09 TECHNICAL BASELINE ARCHITECTURAL
Compilation of Architectural preliminary drawings based on all known requirements

## Slide 10: H09 Architectural Preliminary Design
Samuel Martin, Viggo Frost
H09 Waste treatment facility - Baseline Agreement
www.europeanspallationsource.se
5 February, 2018

## Slide 11: ARCHITECTURAL DESIGN
CONSTRAINTS:
- ARCHITECTURAL DESIGN MANUAL, REF G04
- H01 GROUND PIPES DISTANCE, >3,5m
- MINIMAL DISTANCE TO ROAD, >3m
- CONNECTION TO D BUILDING CULVERT
- REMAINING OUTSIDE E THE EXPANSIONAREA
OF THE E BUILDINGS
D BUILDING CULVERT
GROUND PIPES
GROUND PIPES
MEASSUREMENTS:
HIGH VOLUME: 1435m2 LOW VOLUME: 448m2
WIDTH: 35m WIDTH: 14m
LENGTH: 41m LENGTH: 32m
HEIGHT: 12m HEIGHT: 4m

## Slide 12: UNCONTROLLED AREA
TECHNICAL
AREA
OFFICE
OPERATION
CENTRE
LAB
(CONTROLLED AREA)
BARRIER AREA
(CONTROLLED AREA)
CHANGING
ROOMS
ENTRANCE

## Slide 13: LEVEL 100 - CONTROLLED AREA
ALL OPERATIVE LOGISTICS ARE CHANNELLED
TROUGH THE OVERHEAD CRANE HALL
D BUILDING CULVERT
GATE
ENTRANCE
OVERHEAD
CRANE HALL
(CONTROLLED AREA)
OPERATION
CENTRE
SOLID WASTE TREATMENT AREA
(CONTROLLED AREA)
LIQUID WASTE TREATMENT AREA
(CONTROLLED AREA)
CEMENTATION
STAIRS TO HVAC
OPERATION CENTRE
(CONTROLLED AREA)
GATE

## Slide 14: LEVEL 110 - CONTROLLED AREA
OVERHEAD
CRANE HALL
(CONTROLLED AREA)
STORAGE
STORAGE

## Slide 15: LEVEL 115 - CONTROLLED AREA
OVERHEAD
CRANE HALL
(CONTROLLED AREA)
HVAC
(CONTROLLED AREA)
HVAC
CEMENTATION

## Slide 16: LEVEL 090 - CONTROLLED AREA
STAIR & BASEMENT
(CONTROLLED AREA)
D BUILDING CULVERT
E BUILDINGS EXPANSIONAREA

## Slide 17: LEVEL 090-115 - SECTION
OVERHEAD
CRANE HALL
(CONTROLLED AREA)
CULVERT FROM D BUILDING
ESCAPE ROUTE ONLY TO H09
(CONTROLLED AREA)
OPERATION
CENTRE AND OFFICE
E BUILDINGS EXPANSIONAREA
LIQUID WASTE TREATMENT AREA
(CONTROLLED AREA)
SOLID WASTE TREATMENT AREA
(CONTROLLED AREA)
CHANGING
ROOMS

## Slide 18: H09 Structural Preliminary Design
Andreas Abrahamsson
H09 Waste treatment facility - Baseline Agreement
www.europeanspallationsource.se
5 February, 2018

## Slide 19: OVERVIEW
PRECAST CONCRETE STRUCTURE
STEEL STRUCTURE
CULVERT
STACK FOUNDATION

## Slide 20: SUBSTRUCTURE
BASEMENT
CULVERT
STACK FOUNDATION
BASE SLAB/STRIP FOOTINGS
GENERAL: UPSTANDS FOR WALLS

## Slide 21: SUPERSTRUCTURE
PRECAST COLUMNS/BEAMS
STEEL COLUMNS/TRUSSES
PRECAST HOLLOWCORE SLABS
(FLOORS AND ROOF)

## Slide 22: CHALLENGES
SPECIAL LOADS
ATB12K CARRIER
OVERHEAD CRANES
HEAVY EQUIPMENT
ETC.
CRITICAL DETAILS
”LINE OF SIGHT” IN JOINTS
LEAKAGE OF CONTAMINATED WATER
MATERIALS
COMPATIBLE WITH SURFACE TREATMENT